## Sheet1
RIB SpecLink®-E Sections Report
Report Date: June 09, 2026
Report Legend:
A=Architectural; S=Structural; C=Civil; L=Landscape; ME=Mechanical/Electrical;
DC, D=Design Criteria; ++=Checklist
Databases Copyright 2026, RIB
Software Copyright 2026, RIB
00 0101 RIB Project Title Page
ASCLMED
Feb 2020
F or the project name, location, Owner, project specific information .
00 0102 RIB Project Information
ASCLMED
Feb 2020
Project summary ; contract type; highlights of bidding requirements.
00 0103 RIB Project Directory
ASCLMED
Feb 2020
Project Directory.
00 0105 RIB Certifications Page
ASCLMED
Feb 2020
This document is intentionally blank. Add the specifics needed for the project.
00 0107 RIB Seals Page
ASCLMED
Feb 2020
This document is intentionally blank. Add the specifics needed for the project.
00 0110 RIB Table of Contents
ASCLMEDW
Apr 2019
Listing of all sections, in Masterformat 2004 /2012+ order, linked to each appropriate section.
00 0115 RIB List of Drawing Sheets
ASCLMED
Feb 2020
This document is intentionally blank. Add the specifics needed for the project.
00 0120 RIB List of Schedules
ASCLMED
Feb 2020
This document is intentionally blank. Add the specifics needed for the project.
00 1113 RIB Advertisement for Bids
ASCLMED
Feb 2020
Invitation or advertisement for bids; may be letter form or published.
00 2113 RIB Instructions to Bidders
ASCLMED
Mar 2020
Preparing and submitting bids; bid security; conditions of acceptance.
00 2116 RIB Instructions to Proposers
ASCLMED
Feb 2020
Design-Build; competitive RFP for fixed-price "best value" proposal.
00 3100 RIB Available Project Information
ASCLMED
Mar 2020
I dentification of available and required project information.
00 4000 RIB Procurement Forms and Supplements
ASCLMED
Feb 2020
Forms relating to competitive bidding process.
00 4100 RIB Bid Form
ASCLMED
Feb 2020
Form for bidder entry of bid amount, time, alternates, etc.
00 4200 RIB Proposal Form
ASCLMED
Feb 2020
Design-Build; for responding to a formal or informal request for proposal (RFP).
00 4301 RIB Bid Form Supplements Cover Sheet
ASCLMED
Feb 2020
Form for use if none in lieu of standard supplements : Sections 00 4322 - 00 4373
00 4322 RIB Unit Prices Form
ASCLMED
Feb 2020
Form for bidder entry of unit prices accompanying a lump sum bid.
00 4323 RIB Alternatives Form
ASCLMED
Feb 2020
Form for bidder entry of Add/Deduct amounts.
00 4325 RIB Substitution Request Form - During Procurement
ASCLMED
Oct 2020
For documenting substitution requests during Bidding/Negotiation Phase (Procurement).
00 4327 RIB Separate Prices Break-Out Form
ASCLMED
Feb 2020
Form for bidder entry of price of specific items.
00 4328 RIB Items Eligible For Tax Rebate Form
ASCLMED
Mar 2020
Form for bidder entry of 1) expected rebate amounts or 2) known rebate items.
00 4333 RIB Proposed Products Form
ASCLMED
Feb 2020
Form for bidder entry of actual equipment items included in bid.
00 4334 RIB Proposed Mechanical Products Form
ASCLMED
Feb 2020
Form for bidder entry of actual mechanical equipment items included in bid.
00 4335 RIB Proposed Electrical Products Form
ASCLMED
Feb 2020
Form for bidder entry of actual electrical equipment items included in bid.
00 4336 RIB Proposed Subcontractors Form
ASCLMED
Feb 2020
Form for bidder entry of subcontractor bids included in bid.
00 4373 RIB Proposed Schedule of Values Form
ASCLMED
Feb 2020
Form for bidder entry of cost breakdown.
00 5000 RIB Contracting Forms and Supplements
ASCLMED
Feb 2020
Forms relating to contract, post bid activities; checklist for contracting documents.
00 5200 RIB Agreement Form
ASCLMED
Feb 2020
Cover sheet or placeholder for Agreement prepared separately.
00 6000 RIB Project Forms
ASCLMED
Feb 2020
This document is intentionally blank. Add the specifics needed for the project.
00 6325 RIB Substitution Request Form - During Construction
ASCLMED
Oct 2020
For documenting substitution requests during Construction Phase.
00 7100 RIB Contracting Definitions
ASCLMED
Feb 2020
Definitions relating to Design-Build contracts; types of documents, time periods.
00 7200 RIB General Conditions
ASCLMED
Feb 2020
Cover sheet / placeholder for General Conditions prepared separately.
00 7300 RIB Supplementary Conditions
ASCLMED
Feb 2020
Template for modifications to standard forms of General Conditions.
00 9111 RIB Addendum Number 1
ASCLMED
Feb 2020
Addendum template.
DC 0 RIB Facility Design Criteria
D
Sep 2020
++ Fundamental statements of design criteria for Design-Build or PPD/Uniformat: start here.
DC 00 RIB Spaces
D
Sep 2020
Definitions of space types; cross-reference to project program.
DC 999 RIB Design Criteria Template Section
D
Sep 2020
Outline template for user-added criteria sections.
DC A RIB Substructure Criteria
D
Sep 2020
++ Elements below grade or in contact with ground; to back side of interior finishes.
DC A1 RIB Foundations Criteria
D
Sep 2020
++ Foundations for various structures .
DC A2 RIB Subgrade Enclosures Criteria
D
Sep 2020
++ Enclosures of habitable space partially or fully below grade .
DC A4 RIB Slabs-on-Grade Criteria
D
Sep 2020
++ Slabs-on-grade for building structures .
DC A6 RIB Water and Gas Mitigation Criteria
D
Sep 2020
++ Water and gas mitigation related to substructures .
DC A9 RIB Substructure Related Activities Criteria
D
Sep 2020
++ Activities related to substructure construction .
DC B RIB Shell Criteria
D
Sep 2020
++ Building or structure shell .
DC B1 RIB Superstructure Criteria
D
Sep 2020
++ Structural elements above grade.
DC B2 RIB Exterior Vertical Enclosures Criteria
ASCLMEDW
Sep 2020
++ Non-structural vertical enclosure, windows, other openings, etc.
DC B3 RIB Exterior Horizontal Enclosures Criteria
D
Sep 2020
++ Roof coverings, openings, and appurtenances ; insulation, gutters, skylights, hatches, etc.
DC C RIB Interiors Criteria
D
Sep 2020
++ Criteria that apply to interior s work , except for services.
DC C1 RIB Interior Construction Criteria
D
Sep 2020
++ Interior construction elements .
DC C18 RIB Information Specialties Criteria
D
Sep 2020
++ Signage, visual display surfaces, communications specialti es.
DC C19 RIB Storage Specialties Criteria
D
Sep 2020
++ Cabinetry, wardrobe units, closet fixtures, lockers, fixed shelving, mailboxes.
DC C2 RIB Interior Finishes Criteria
D
Sep 2020
++ Applied finishes and suspended ceiling finishes .
DC D RIB Facility Services Criteria
D
Sep 2020
++ Typical facility services .
DC D11 RIB People-Moving Equipment Criteria
D
Sep 2020
++ Elevators, escalators, and other equipment primarily for moving people.
DC D12 RIB Material Handling and Maintenance Conveying Equipment Criteria
D
Sep 2020
++ Conveying equipment primarily used for maintenance access and material handling.
DC D2 RIB Plumbing Criteria
D
Sep 2020
++ Domestic water, sanitary sewer, rainwater, fixtures, pool/fountain, lab and healthcare systems .
DC D3 RIB HVAC Criteria
D
Sep 2020
++ Heating, ventilating, and air conditioning; energy supply; smoke control.
DC D4 RIB Fire Protection Criteria
D
Sep 2020
++ Sprinklers, standpipes, and other extinguishing systems.
DC D5 RIB Electrical Criteria
D
Sep 2020
Power, distribution, lighting, lightning protection, special grounding, cathodic prot.
DC D6 RIB Communications Criteria
D
Sep 2020
++ General voice, data, sound reinforcement, television, and clock systems.
DC D7 RIB Electronic Safety and Security Criteria
D
Sep 2020
++ Fire alarm, access control, intrusion detection, and remote surveillance.
DC D8 RIB Integrated Automation Criteria
D
Sep 2020
++ Facility controls that combine two or more other control systems (outline only).
DC E RIB Equipment and Furnishings Criteria
D
Sep 2020
++ General and special equipment and furnishings for commercial, institutional, and residential occupancies.
DC E1 RIB Equipment Criteria
D
Sep 2020
++ General , commercial, institutional, and residential equipment.
DC E11 RIB Food Service Equipment Criteria
D
Sep 2020
++ Commercial/Institutional; refrig, storage, prep, serving, cleaning; exhaust hoods.
DC E19 RIB Other Equipment Criteria
D
Sep 2020
++ Criteria for other equipment (outline only).
DC E2 RIB Furnishings Criteria
D
Sep 2020
++ Criteria for various types of loose furnishings (outline only).
DC E21 RIB Fixed Multiple Seating Criteria
D
Sep 2020
++ Audience, conference, and lounge seating; pews, benches, other types.
DC F RIB Special Construction and Demolition Criteria
D
Sep 2020
++ Special construction, demolition, and deconstruction .
DC G RIB Sitework Criteria
D
Sep 2020
++ S itework related to building construction, including site services.
DC G1 RIB Site Preparation Criteria
D
Sep 2020
++ S i te preparation work related to building construction, including site services .
DC G2 RIB Site Improvements Criteria
D
Sep 2020
Pavements, fences, site furnishings, landscaping, irrigation.
DC G3 RIB Site Services Criteria
D
Sep 2020
++ Site portions of building services, campus services.
DC H RIB Process Criteria
D
Sep 2020
++ Criteria for process equipment and services (outline only).
01 1000 RIB Summary
ASCLMED
Feb 2020
Contract type: Single or Multiple Prime; basic project conditions; work not shown on drawings.
01 2000 RIB Price and Payment Procedures
ASCLMED
Feb 2020
++ Payments, change s, and closeout procedures. Schedule of Values.
01 2100 RIB Allowances
ASCLMED
Feb 2020
Allowances procedures; description of allowances.
01 2200 RIB Unit Prices
ASCLMED
Feb 2020
Unit prices procedures; description of items to be priced or prices to be included.
01 2300 RIB Alternatives
ASCLMED
Feb 2020
Alternat ive s ( A lternat iv es [MF95] ) procedures; description of A lternates.
01 2500 RIB Substitution Procedures
ASCLMED
Oct 2020
For substitution requests made during and after Bidding/Negotiation phase.
01 3000 RIB Administrative Requirements
ASCLMED
Oct 2020
Submittals , meetings, schedules, reports, coordination, photographs, closeout , etc.
01 3050 RIB Design Procedures and Substantiation Requirements
ASCLMED
Aug 2020
For design-build projects; design documentation and substantiation.
01 3114 RIB Facility Services Coordination
ASCLMED
Feb 2020
Major project facility systems coordinator; coordination drawings for facility systems .
01 3216 RIB Construction Progress Schedule
ASCLMED
Feb 2020
Detailed schedule requirements (augments Section 013 0 00).
01 3329.02 RIB Sustainable Design Reporting - LEED v4
ASCLMED
Jun 2020
Contractor's documentation of sustainable measures.
01 3329.03 RIB Sustainable Design Reporting - Green Globes
ASCLMED
Mar 2020
Contractor's documentation of sustainable measures.
01 3329.04 RIB Material Content Form
ASCLMED
Jun 2020
For LEED v4, for gathering information for several MR and EQ credits .
01 3329.07 RIB Prohibited Content Installer Certification
ASCLMED
Jun 2020
For documenting that no high-VOC accessory materials have been used.
01 3553 RIB Security Procedures
ASCLMED
Feb 2020
Contractor procedures; augments Section 01 5000 (01500) with more detail.
01 3566.05 RIB Project Sustainability Goal Credit Summary - LEED v4
ASCLMED
Aug 2020
++ For documenting credit intentions; linked to Section 013566.12 (01358).
01 3566.06 RIB Project Sustainability Goal Point Summary - Green Globes
ASCLMED
Aug 2020
++ For documenting point intentions; linked to Section 01 35 66.13 (01359).
01 3566.12 RIB Sustainability Certification Project Procedures - LEED v4
ASCLMED
Feb 2022
Contractor procedures supporting certification process.
01 3566.13 RIB Sustainability Certification Project Procedures - Green Globes
ASCLMED
Feb 2022
C ontractor procedures supporting certification process.
01 4000 RIB Quality Requirements
ASCLMED
Jan 2021
Testing, inspection, mock-ups, reports, certificates; use of reference standards.
01 4100 RIB Regulatory Requirements
ASCLMED
Feb 2020
List of regulations applicable to project; for information or as design criteria.
01 4216 RIB Definitions
ASCLMED
Mar 2020
Definitions not specific to other sections and not in the General Conditions.
01 4219 RIB Reference Standards
ASCLMED
Apr 2019
All reference standards cited, with full title and edition date.
01 5000 RIB Temporary Facilities and Controls
ASCLMED
Feb 2020
Requirements not considered the contractor's option; utilities; facilities; services.
01 5100 RIB Temporary Utilities
ASCLMED
Feb 2020
Electricity, lighting, heating, cooling, ventilation, and water; more detail than 01 5000.
01 5213 RIB Site Offices and Sheds
ASCLMED
Feb 2020
Augments Section 01 5000 if more detail is necessary.
01 5500 RIB Vehicular Access and Parking
ASCLMED
Feb 2020
Augments Section 01 5000 if more detail is necessary.
01 5713 RIB Temporary Erosion and Sediment Control
ASCLMED
Feb 2020
Performance and prescriptive requirements; remedies for non-compliance.
01 5719 RIB Temporary Environmental Controls
ASCLMED
Feb 2020
Procedures & testing under C ontractor's control; including some sustainability issues.
01 5813 RIB Temporary Project Signage
ASCLMED
Feb 2020
Project identification sign; other optional signs.
01 6000 RIB Product Requirements
ASCLMED
Mar 2020
Product options and substitutions; delivery, storage, protection.
01 6116 RIB Volatile Organic Compound (VOC) Content Restrictions
ASCLMED
Mar 2020
VOC restrictions t hat exceed regulatory requirements .
01 6116.01 RIB Accessory Material VOC Content Certification Form
ASCLMED
Mar 2020
For documenting that no high-VOC accessory materials have been used.
01 7000 RIB Execution and Closeout Requirements
ASCLMED
Feb 2020
Basic installation requirements; cutting/patching; cleaning; starting of systems; etc.
01 7123 RIB Site Engineering
ASCLMED
Feb 2020
Contractor's construction survey work and field engineering
01 7419 RIB Construction Waste Management and Disposal
ASCLMED
Feb 2020
Waste management plan; landfill diversion proposals; waste disposal reports.
01 7610 RIB Temporary Protective Coverings
ASCLMED
Mar 2020
T emporary protective coverings for installed floors, walls, doorways, and other surfaces .
01 7800 RIB Closeout Submittals
ASCLMED
Jan 2021
Project record documents; O & M manuals; warranties/bonds.
01 7900 RIB Demonstration and Training
ASCLMED
Mar 2020
Procedures for Owner-personnel demonstration, training; scope list.
01 9113 RIB General Commissioning Requirements
ASCLMED
Mar 2020
++ Commissioning s cope, objectives, procedures, Contractor's responsibilities.
01 9114 RIB Commissioning Authority Responsibilities
ASCLMED
Mar 2020
++ Independent commissioning agent contracted directly to Owner.
02 4100 RIB Demolition
ASCLME
May 2019
Building, site works, and selective demolition; abandonment of existing utilities.
02 4300 RIB Structure Moving
ASC
May 2019
Preparation and relocation of structures and directly associated activities.
02 6500 RIB Underground Storage Tank Removal
ACME
Jun 2019
Includes removal of fuel contents and disposal of contaminated soil.
02 8400 RIB Polychlorinate Biphenyl (PCB) Remediation
AME
Dec 2019
PCBs; other substances regulated by Toxic Substances Control Act (TSCA).
03 0100 RIB Maintenance of Concrete
ASCL
Nov 2024
Existing concrete cleaning, resurfacing, repair, & strengthening.
03 0516 STEGO Underslab Vapor Barrier
ASCLMED
Apr 2019
S tego; ASTM E1745 Class A sheet for under concrete slabs on grade.
03 0830 RIB Concrete Observation, Review and Testing Procedures
ASCLMED
Aug 2020
Information required to coordinate activities with the Owner’s Quality Auditor:
03 1000 RIB Concrete Forming and Accessories
ASCL
Apr 2019
Materials required to form and maintain cast-in-place concrete until stripping.
03 1119 RIB Insulating Concrete Forming
ASC
May 2019
Insulating concrete forms that remain in place as a part of the wall system.
03 1521 STEGO Termite Barrier
ASCLMED
Apr 2019
STEGO; ASTM E1745 Class C plastic sheet, for termite exclusion.
03 2000 RIB Concrete Reinforcing
ASCL
Dec 2025
Reinforcing steel and required supports for cast-in-place concrete.
03 2400 BEK Fibrous Reinforcing
ASCL
Apr 2019
Steel fiber reinforcing for cast-in-place; proprietary by Bekaert.
03 3000 RIB Cast-in-Place Concrete
ASCLME
May 2023
In situ concrete for structural frame, slabs on grade, other components.
03 3005 SPG Water Vapor Reducing Admixture for Cast-in-Place Concrete
ASCLME
Apr 2019
Specialty Products Group; water vapor reducing admixture.
03 3006 SPG Waterproofing Admixture for Cast-in-Place Concrete
ASCLME
Apr 2019
Specialty Products Group; waterproofing admixture.
03 3511 RIB Concrete Floor Finishes
ASL
Nov 2024
Densifiers, hardeners, sealers, coatings, slip resistant aggregate, polishing.
03 3523 RIB Exposed Aggregate Concrete Finishing
ASL
Apr 2019
Aggregate, cement, pigments, cleaning, sealers.
03 3533 RIB Stamped Concrete Finishing
ACL
Apr 2019
Colorless and colored; stamped slab or thick overlay; exterior and interior.
03 3713 RIB Shotcrete
ASCL
Apr 2019
Concrete pneumatically-applied; optional reinforcement and surface finishing.
03 3800 RIB Post-Tensioned Concrete
ASC
Apr 2019
Post-tensioning of cast-in-place concrete structural framing members and slabs.
03 4100 RIB Precast Structural Concrete
ASC
May 2019
Plant precast and prestressed concrete framing members.
03 4113 RIB Precast Concrete Hollow Core Planks
AS
Jun 2019
Plant precast prestressed concrete roof and floor planks, cored for lighter weight.
03 4500 RIB Precast Architectural Concrete
ASL
Jun 2019
Plant cast architecturally finished concrete wall panels.
03 4713 RIB Tilt-Up Concrete
ASC
May 2019
Site cast concrete wall panels; with supports, anchors, top bearing devices.
03 4900 RIB Glass-Fibre Reinforced Concrete
A
May 2019
Plant cast, architecturally finished glass fib re reinforced concrete wall units.
03 5216 RIB Lightweight Insulating Concrete
AS
May 2019
Portland cement concrete fill used mainly to achieve sloped roof deck surfaces.
03 5400 RIB Cast Underlayment
A
May 2019
Liquid applied, gypsum or cementitious base, installed over interior subfloors.
04 0100 RIB Maintenance of Masonry
AL
May 2019
Water, steam, or chemical cleaning, sand blasting, repointing, and coatings.
04 0511 RIB Mortar and Masonry Grout
ASCL
Mar 2022
Mortar and grout for all masonry work.
04 2000 RIB Unit Masonry
ASCL
Mar 2022
Most ordinary uses of masonry, including walls or partitions and masonry veneer.
04 2001 RIB Masonry Veneer
AL
May 2019
Masonry veneer mechanically attached to structure; anchors and accessories.
04 2300 RIB Glass Unit Masonry
AL
May 2019
Plain and decorative designs, reinforcement, joints, and accessories.
04 2500 RIB Unit Masonry Panels
A
Jun 2019
Shop fabricated masonry panels of face brick veneer on steel framing.
04 2600 RIB Single-Wythe Unit Masonry
A
Aug 2019
Loadbearing or non-loadbearing single wythe masonry walls or partitions.
04 2616 RIB Adhered Masonry Veneer
AL
Aug 2019
Thin brick veneer for interior and exterior applications.
04 2723 RIB Cavity Wall Unit Masonry
A
Jul 2020
Concrete masonry, brick, and clay tile units; reinforcement and accessories.
04 2900 RIB Engineered Unit Masonry
ASCL
Aug 2019
Engineered, steel reinforced, structural and load bearing masonry.
04 4200 RIB Exterior Stone Cladding
AL
Jun 2019
Thin stone veneer for exterior and interior walls, attached to structural backup.
04 4313 RIB Stone Masonry Veneer
AL
May 2019
Natural stone, set in mortar, for veneer on exterior and interior walls.
04 7100 RIB Manufactured Brick Masonry
AL
Dec 2021
Adhered manufactured brick masonry veneer (AMBMV).
04 7200 RIB Cast Stone Masonry
AL
Aug 2019
Cast stone for exterior and interior use.
04 7300 RIB Manufactured Stone Masonry
AL
Dec 2021
Adhered manufactured stone masonry veneer (AMSMV).
05 0810 RIB Owner’s Quality Audit Inspection and Testing for Steel
ASCLMED
Aug 2020
Information required to coordinate activities with the Owner’s Quality Auditor:
05 1200 RIB Structural Steel Framing
ASC
Apr 2020
Steel framing, anchor bolts, base plates, accessories, shop finishing.
05 1213 RIB Architecturally-Exposed Structural Steel Framing
ASC
May 2019
AISC-defined, architecturally-exposed structural steel (AESS) categories.
05 2100 RIB Steel Joist Framing
AS
Jul 2019
Structural steel open web joists and joist girders for roof and floor framing.
05 3100 RIB Steel Decking
AS
Feb 2022
Structural metal deck, for floor and roof applications; SDI specification.
05 4000 RIB Cold-Formed Metal Framing
AS
Dec 2021
++ Steel studs, slotted channels, joists, purlins; structural load-bearing.
05 4400 RIB Cold-Formed Metal Trusses
AS
Feb 2020
++ Factory-built light ga u ge cold-formed steel floor and roof trusses.
05 4500 RIB Metal Support Assemblies
ASC
Jun 2019
++ M etal Support Assemblies .
05 5000 RIB Metal Fabrications
ASL
Jan 2021
Shop fabricated metal items of steel or aluminum; not ornamental quality.
05 5100 RIB Metal Stairs
AS
Feb 2020
++ Shop-fabricated ; railings, landings, various treads, nosings.
05 5213 RIB Pipe and Tube Railings
AL
Dec 2024
++ Pipe and tube railing s ; aluminum or steel; custom or proprietary.
05 5305 RIB Metal Gratings and Floor Plates
ALME
Feb 2020
2020 February
05 7000 RIB Decorative Metal
AL
May 2019
Ornamental stairs; metal, glass & cable handrails; wall-mounted handrails.
05 7113 RIB Fabricated Metal Spiral Stairs
A
Oct 2019
Steel, cast iron, wood; standard or custom.
05 7500 RIB Decorative Formed Metal
AL
Feb 2020
Sheet metal , MCM , and solid plate ; interior fabrications.
06 0573 RIB Wood Treatment
ASL
Feb 2020
P reservative and fire retardant treatment.
06 1000 RIB Rough Carpentry
ASL
Dec 2021
++ Wood framing, sheathing, miscellaneous carpentry; checklist for quick scoping.
06 1219 RIB Structural Insulated Panels
AS
Apr 2019
++ Plywood or OSB panels laminated to rigid insulation; design checklist.
06 1323 RIB Heavy Timber Framing
ASL
Apr 2019
Structural wood framing comprised of components 5 inches minimum thickness.
06 1326 RIB Heavy Timber Trusses
ASL
Apr 2019
Heavy timber truss framing ; bolted plate and split ring connections .
06 1500 RIB Wood Decking
ASL
Oct 2019
Structural wood decking of softwood lumber, plywood, or glued laminated lumber.
06 1733 RIB Wood I-Joists
AS
Nov 2019
I-shaped, with wood flanges glued to OSB or plywood web.
06 1736 RIB Metal-Web Wood Joists
AS
Nov 2019
Structural joists of wood chords with tubular metal web truss web and steel pins.
06 1753 RIB Shop-Fabricated Wood Trusses
AS
Feb 2020
Shop fabricated wood trusses with wood or steel plate connectors.
06 1800 RIB Glued-Laminated Construction
ASL
Sep 2019
Factory-fabricated structural wood beams, arches, columns, purlins, etc.
06 2000 RIB Finish Carpentry
AL
Aug 2021
Interior and exterior finished carpentry and woodwork items.
06 4100 RIB Architectural Wood Casework
A
May 2024
Special fabricated custom design casework of wood or particleboard.
06 4200 RIB Wood Paneling
A
Apr 2019
Architectural quality, custom, shop-fabricated wood veneer paneling.
06 5300 RIB Plastic Decking
ASL
Apr 2019
Plastic decking.
06 6100 RIB Cast Polymer Fabrications
AL
Apr 2019
Gel-coated cast plastic "cultured marble."
06 6300 RIB Plastic Railings
AL
Apr 2019
Plastic railing systems for decks, porches, and balconies.
06 7100 RIB Structural Composite Shapes and Plates
ASCL
Feb 2022
++ FRP composite systems; structural shapes , plates, connections.
06 7300 RIB Composite Decking
ASCL
Feb 2022
++Plastic composite decking and FRP composite decking.
06 7400 RIB Composite Gratings
ASCLMED
Feb 2022
++Composite gratings fabricated by moulded and pultrusion processes.
06 8000 RIB Composite Fabrications
AL
Aug 2021
FRP composites fabricated by the pultrusion process.
06 8200 RIB Composite Trim
AL
Apr 2019
Custom sized and shaped fiber - reinforced epoxy or polyester resin components.
06 8316 RIB Fibreglass Reinforced Paneling
A
Apr 2019
For wall and ceiling applications; trim, suspension grid.
07 0150.19 RIB Preparation for Re-Roofing
A
Dec 2019
Removal of existing horizontal roof covering in preparation for roof replacement.
07 0150.61 RIB Roof Re-Coating
A
Nov 2019
Site -applied, high reflectivity/emissivity coating for metal or tile roofs.
07 0553 RIB Fire and Smoke Assembly Identification
A
May 2023
Code-mandated marking for fire- and smoke-rated walls and partitions.
07 1113 RIB Bituminous Dampproofing
AL
Apr 2022
Hot and cold applied asphalt and hot applied coal tar bitumen dampproofing.
07 1200 RIB Built-Up Bituminous Waterproofing
AC
Apr 2022
Hot or cold applied asphalt or hot applied coal tar bitumen waterproofing.
07 1300 RIB Sheet Waterproofing
AC
Aug 2020
Numerous types of sheet membrane waterproofing.
07 1400 RIB Fluid-Applied Waterproofing
AC
Aug 2021
A bove and below grade; vertical and horizontal; protection board.
07 1513 RIB Sheet Lead Waterproofing
AC
Nov 2019
Lead sheet waterproofing for concealed installation; protection board.
07 1613 RIB Polymer Modified Cement Waterproofing
A
Aug 2020
++ Thick coating; positive or negative side; potable water contact.
07 1616 RIB Crystalline Waterproofing
AC
May 2023
For concrete; seals by forming crystals in capillary pores; positive or negative side.
07 1619 RIB Metal Oxide Waterproofing
AC
Nov 2019
Coatings applied to interior side of concrete floors and walls below grade.
07 1713 RIB Bentonite Panel Waterproofing
A
Jun 2019
Panel waterproofing for below grade vertical and horizontal surfaces.
07 1800 RIB Traffic Coatings
A
Feb 2020
Fluid-applied polyurethane and acrylic coatings.
07 1900 RIB Water Repellents
A
Jun 2019
Transparent, non-glossy sealer for masonry and other porous surfaces.
07 2100 DOW Thermal Insulation
ASCLMED
Apr 2019
{IMG#3006348}
07 2100 RIB Thermal Insulation
A
May 2024
++ Rigid or semi-rigid boards of various types, plus batts and blankets.
07 2119 RIB Foamed-In-Place Insulation
A
Jan 2022
Foam insulation installed on site by spray, frothing, or pouring.
07 2123 RIB Loose-Fill Insulation
A
May 2019
Poured granular vermiculite or perlite; polystyrene beads.
07 2126 RIB Blown Insulation
A
May 2019
Fiberg lass , mineral wool, or cellulos ic fiber; blown-in .
07 2129 RIB Sprayed Insulation
A
May 2019
Glass fib re ; fire-retardant treated cellulose fib re ; adheres to surfaces.
07 2400 RIB Exterior Insulation and Finish Systems
A
May 2019
++ EIFS finish coating, insulation, drainage layers, water barriers.
07 2500 RIB Weather Barriers
A
Dec 2021
++ Air barriers, vapo u r retarders, and water-resistive barriers primarily for exterior walls.
07 3110 RIB Synthetic Shingles
A
Jan 2020
P lastic shingles with shake and slate texture; flashing and accessories.
07 3113 RIB Asphalt Shingles
A
Nov 2019
Mineral granule surfaced asphalt composition shingles.
07 3116 RIB Metal Shingles
A
Dec 2019
Aluminum, galvanized steel, copper; underlayment; accessories.
07 3126 RIB Slate Shingles
A
Dec 2019
++ Natural slate roofing shingles, including underlayments and flashings.
07 3129 RIB Wood Shingles and Shakes
A
Dec 2019
Shingles and shakes for installation on sloped wood decks.
07 3213 RIB Clay Roof Tiles
A
Dec 2019
Clay tile roofing for steep roofs, including underlayment and accessories.
07 3216 RIB Concrete Roof Tiles
AL
Nov 2019
Concrete tile roofing for steep roofs, including underlayment and accessories.
07 3219 RIB Metal Roof Tiles
A
Dec 2019
Metal panels with roof tile appearance; underlayment and accessories.
07 4113 RIB Metal Roof Panels
A
Feb 2020
++ Steel, aluminum; factory-fabricated; structural and architectural.
07 4133 RIB Plastic Roof Panels
A
Apr 2019
PVC and polycarbonate; corrugated and flat; opaque, clear, and translucent .
07 4213 RIB Metal Wall Panels
A
Dec 2021
Prefinished formed metal wall & liner panels for field assembly.
07 4213.16 RIB Metal Plate Wall Panels
A
Nov 2021
Prefinished metal plate wall panels, and field assembly components .
07 4213.19 RIB Insulated Metal Wall Panels
A
Feb 2020
Inner and outer metal skins and insulation core; prefinished; secondary framing.
07 4213.23 RIB Metal Composite Material Wall Panels
A
Feb 2023
++ MCM wall panel system s , and anchored to solid backup.
07 4249 RIB Sintered Ceramic Wall Panels
A
Nov 2021
Manufactured sintered ceramic wall panel s ystem for site assembly.
07 4400 RIB Faced Panels
A
May 2021
Faced rainscreen; textured, stone, opaque & solar glass panels .
07 4610 RIBXX Metal Siding
A
Jul 2021
Steel and aluminum siding, soffit, and trim; simulated shingles and shakes.
07 4616 RIB Aluminum Siding
A
Jul 2021
Aluminum siding, soffit, and trim; simulated shingles and shakes.
07 4619 RIB Steel Siding
A
Jul 2021
Steel siding, soffit, and trim; simulated shingles and shakes.
07 4623 RIB Wood Siding
A
Jun 2020
Wood board and panel siding, including flat and beveled boards and plywood.
07 4633 RIB Plastic Siding
A
Feb 2022
Vinyl siding, soffit, and trim; simulated shingles and shakes.
07 4646 RIB Fibre-Cement Siding
A
Jun 2020
++ Wood fib re cement; lap, panel, shingle panel, single shingles, " masonry " panels.
07 5100 RIB Built-Up Bituminous Roofing
A
Feb 2022
Multi-ply felt roofing with asphalt bitumen, including protected membranes.
07 5200 RIB Modified Bituminous Membrane Roofing
A
May 2023
SBS and APP membranes, in both conventional and protected applications.
07 5201 RIB Rubberized Asphalt Roofing
A
Aug 2019
Single-ply rubberized asphalt bitumen sheet roofing in a protected membrane.
07 5216 FSBP Styrene-Butadiene-Styrene Modified Bituminous Roofing (SBS)
ASCLME
Apr 2019
Firestone SBS mod. bit. roofing; roof insulation; metal flashings and edge trim.
07 5300 RIB Elastomeric Membrane Roofing
A
Feb 2022
Single-ply EPDM, neoprene, CPE, CSPE (hypalon); insulation, flashings, ballast.
07 5323 CARL EPDM Thermoset Single-Ply Roofing
ASCLMED
Apr 2019
C arlisle Syntec EPDM roofing; membrane, insulation , flashing , accessories .
07 5323 FSBP Ethylene-Propylene-Diene-Monomer Roofing (EPDM)
ASCLME
Apr 2019
Firestone EPDM roofing; roof insulation; metal flashings and edge trim.
07 5400 RIB Thermoplastic Membrane Roofing
A
Feb 2022
++ Single-ply TPO and PVC; insulation, vapor retarder, ballast.
07 5419 CARL PVC Thermoplastic Single-Ply Roofing
ASCLMED
Apr 2019
C arlilse Syntec PVC roofing; membrane, insulation , flashing , accessories .
07 5423 CARL Thermoplastic Polyolefin (TPO) Membrane Roofing
ASCLMED
Apr 2019
C arlisle Syntec TPO roofing; membrane, insulation , flashing , accessories .
07 5423 FSBP Thermoplastic-Polyolefin Roofing (TPO)
ASCLME
Apr 2019
Firestone TPO roofing; roof insulation; metal flashings and edge trim.
07 5563 RIB Vegetated Protected Membrane Roofing
AL
Jan 2021
++ Protection layers, root barriers, drain boards, insulation, soil, plants.
07 5600 RIB Fluid-Applied Roofing
AC
Jun 2019
For exposed application with no covering and not over insulation.
07 5700 RIB Coated Foamed Roofing
A
Oct 2019
Sprayed polyurethane foam insulation with a sprayed protective overcoat.
07 6100 RIB Sheet Metal Roofing
A
Feb 2020
Brake formed sheets; flat, standing, battened seam; prefinished or unfinished.
07 6200 RIB Sheet Metal Flashing and Trim
ASCLMEDW
Jul 2021
Flashing and trim associated with roofing and waterproofing membranes.
07 7100 RIB Roof Specialties
A
Jan 2021
Manufactured roof copings, fascias, and flashing-related items.
07 7123 RIB Manufactured Gutters and Downspouts
AL
Jul 2019
Metal and plastic rainwater gutters and downspouts.
07 7200 RIB Roof Accessories
AME
Sep 2023
++ Factory-fabricated unit roof curbs, hatches, and accessories.
07 8100 RIB Applied Fireproofing
AS
Aug 2020
Sprayed fire resistive material (SFRM); interior/exterior; assumes UL C listing.
07 8123 RIB Intumescent Fire Protection
AS
Jan 2022
Thin-film "paint-like" fire resistive coating for exposed structural steel.
07 8205 RIB Board and Blanket Fireproofing
AS
Feb 2022
Board fireproofing for structural members; board and blanket for ducts.
07 8400 RIB Firestopping
AME
Apr 2019
++ Products for closing openings in fire-rated walls, partitions, and floors.
07 8400 RIB Firestopping
AME
Mar 2022
Products for closing openings in fire- resistance r ated walls, partitions, and floors.
07 8700 RIB Smoke Containment Barriers
A
Dec 2019
Protective fire-rated woven cloth smoke and/or fire curtain assemblies .
07 9100 RIB Preformed Joint Seals
ACLME
Feb 2020
P re compress ed foam seal s , compression gaskets , preformed strip seals.
07 9200 RIB Joint Sealants
ACLME
Nov 2024
Nonsag/g unnable & pourable/selfleveling sealants, b ackers, accessories .
07 9513 RIB Expansion Joint Cover Assemblies
A
Apr 2019
For joints subject to thermal or seismic movement; exterior, interior; bridge decks.
08 0671 RIB Door Hardware Schedule
ASCLMED
May 2019
Schedule of basic Door Hardware Sets to extent necessary for project.
08 1113 RIB Hollow Metal Doors and Frames
A
May 2019
++ Hollow steel; flush and stile and rail; SDI & HMMA; fire-, sound-rated.
08 1116 RIB Aluminum Doors and Frames
A
Apr 2022
Flush and glazed, aluminum and FRP & AMP faced; interior frames for wood doors.
08 1119 RIB Stainless-Steel Doors and Frames
A
Jun 2019
Stainless steel doors, frames, and in-fill panels.
08 1174 RIB Sliding Metal Grilles
A
Nov 2019
Laterally sliding open grilles or filled-in with various other materials.
08 1213 RIB Hollow Metal Frames
A
Jun 2019
++ Hollow steel frames for use without steel doors; fire-rated, non-rated, sound-rated.
08 1316.13 RIB Aluminum Terrace Doors
A
Nov 2019
Full-glazed, swinging outward or inward; n ot intended for primary entrance (high sills).
08 1416 RIB Flush Wood Doors
A
May 2019
Wood veneer, laminate, hardboard; fire rated, acoustic, lead-lined; glazing; louv re s.
08 1423 RIB Clad Wood Doors
A
Nov 2019
Wood veneer, hardboard, and aluminum cladding; acoustic; glazing.
08 1433 RIB Stile and Rail Wood Doors
A
Oct 2019
Fire Rated and n on- fire rated; wood panel ; glazed; stock and custom.
08 1613 RIB Fibreglass Doors
AC
Dec 2021
FRP doors and frames , for abuse and chemical resistance; fire-rated.
08 1700 RIB Integrated Door Opening Assemblies
A
Jan 2022
Preassembled and prefinished h ollow metal doors and frames including hardware, in various applications .
08 1700 SYNT Integrated Door Opening Assemblies
ASCLMED
Apr 2019
Syntegra Door Systems by Door Systems, Inc; Integrated Door Opening Assemblies
08 1753 AVNTI Integrated Glass Door Opening Assemblies
ASCLMED
Apr 2019
Avanti; oversized glass entryway hardware; handles, hinges, and closure.
08 3100 RIB Access Doors and Panels
A
Sep 2021
Access units for walls, ceilings , floors , monorail beams, and flood protection .
08 3200 RIB Sliding Glass Doors
A
Nov 2019
++ Light commercial quality; wood, PVC, fibreglass, or extruded aluminum.
08 3223 RIB Sliding and Folding Glazed Walls and Doors
A
Feb 2020
M ultiple hinged panels; aluminum and wood; full-height and window height.
08 3313 RIB Coiling Counter Doors
A
Nov 2019
Commercial quality; steel, stainless steel, aluminum , and wood .
08 3323 RIB Overhead Coiling Doors
A
Feb 2020
Industrial and commercial quality; steel, stainless steel, and aluminum.
08 3326 RIB Overhead Coiling Grilles
A
Apr 2019
Aluminum, steel, stainless steel, bronze; manual and electric.
08 3458 RIB File Room Doors and Frames
A
Nov 2019
++ Fire resistant or burglary resistant doors for use at records vaults and file rooms.
08 3513.13 RIB Accordion Folding Doors
A
Nov 2019
Acoustic and non-acoustic types; vinyl coated fabric; overhead track.
08 3513.23 RIB Accordion Folding Fire Doors
A
Nov 2019
Horizontal sliding doors or accordion folding fire doors with automatic-closing; up to 180 minute UL labeled fire- rating.
08 3613 RIB Sectional Doors
A
Apr 2019
Wood, steel, aluminum overhead sectional doors; manual and electric; glazing.
08 3800 RIB Traffic Doors
A
Nov 2019
Self-closing; for personnel, cart, forklift traffic; rigid and flexible.
08 4126 RIB All-Glass Entrances and Storefronts
A
May 2019
++ Tempered glass with patch and rail fittings; swinging and sliding doors.
08 4227 AVNTI Frameless Sliding Glass Doors
ASCLMED
Apr 2019
Avanti; overhead hung; stainless steel track and hardware.
08 4229 RIB Automatic Entrances
A
Feb 2020
Packaged sliding/swinging doors; electric, hydraulic, pneumatic operators; actuators.
08 4233 RIB Revolving Door Entrances
A
Nov 2019
Aluminum, stainless steel, bronze; manual and motor assisted.
08 4236 RIB Balanced Door Entrances
A
Nov 2019
Stile-and-rail; "frameless" glass; minor matching sidelights/transoms.
08 4243 RIB Intensive Care Unit/Critical Care Unit Entrances
A
Nov 2019
++ Slide/swing door s , for observ ation , and noise reduct ion.
08 4313 RIB Aluminum-Framed Storefronts
A
May 2023
++ Glazed; one-story application; doors, operable sash , metal infill panels.
08 4327 RIB Channel Glass Storefronts
A
Nov 2019
Channel glass, framing, and accessories for unitized panels.
08 4413 RIB Glazed Aluminum Curtain Walls
A
May 2021
Multi-story applications; infill panels, operable sash, sunscreens.
08 4418 RIB Glazed Steel Curtain Walls
A
Feb 2020
Multi-story applications; infill panels, operable sash, sunscreens.
08 4426 RIB Structural Glass Curtain Walls
A
Feb 2020
Suspended tempered glass, manufacturer-engineered.
08 4435 RIB Protective Framed Glazing Assemblies
A
Nov 2019
Single - multi-story , int., ex t ., and floors; protective assembl ies .
08 4500 RIB Translucent Wall and Roof Assemblies
A
Nov 2019
Factory-assembled panels with aluminum grid core; extruded plastic cellular panels.
08 4600 RIB Window Wall Assemblies
A
Feb 2022
Framed and frameless; pivoting and sliding wood, aluminum or glass doors.
08 5113 RIB Aluminum Windows
A
Feb 2020
Extruded aluminum; fixed or operable sash; glass and glazing; hardware; screens.
08 5123 RIB Steel Windows
A
Feb 2020
Hot-rolled steel, commercial; formed steel, light commercial/residential.
08 5200 RIB Wood Windows
A
Feb 2020
High quality, stock , residential and commercial quality wood windows.
08 5313 RIB Vinyl Windows
A
Feb 2022
Extruded PVC windows ; residential, light commercial, & commercial grades; factory glazing.
08 5400 RIB Composite Windows
A
Feb 2020
Residential and commercial quality e xtruded composite windows.
08 5413 RIB Fibreglass Windows
A
Dec 2021
Residential and commercial quality pultruded fib re glass windows.
08 5653 RIB Security Windows
A
May 2023
Forced entry & ballistic resistant windows; with/without bars; glazing.
08 5659 RIB Service and Teller Window Units
ASCLME
May 2023
Transaction windows; pass-through devices .
08 6200 RIB Unit Skylights
A
Jan 2021
Skylights with a plastic dome and an aluminum perimeter frame.
08 6223 RIB Tubular Skylights
A
Jan 2021
Residential and commercial reflective tube skylights.
08 6300 RIB Metal-Framed Skylights
A
Jan 2021
Site-assembled aluminum skylight systems; glass and plastic glazing.
08 7100 RIB Door Hardware
A
May 2024
++ List of door hardware components and related requirements with specific p roducts of some manufacturers .
08 7110 HAGER Basis of Design Door Hardware - Hager
ASCLMED
Apr 2019
Web address: {HL#3054342}
08 7129 GRANT Sliding and Folding Door Hardware - Hettich Grant
ASCLMED
Apr 2019
Hettich Grant sliding and folding door hardware; supplements 08 7100.
08 8000 RIB Glazing
A
Feb 2022
++ Wide range of glass and plastic glazing, using various glazing methods.
08 8300 RIB Mirrors
A
Nov 2019
Glass and plastic mirrors; various attachment and glazing methods.
08 8723 RIB Safety and Security Films
A
Nov 2019
Transparent plastic film for new & existing glazing; for safety glazing, blast resistance.
08 8836.11 HLO Electronically Controlled Switchable Insulating Glass Units - Halio
ASCLMED
Sep 2021
Halio EC switchable IGUs.
08 8836.16 RIB Electronically Controlled Switchable Glass
A
May 2021
Electrochromic tintable glass used in double or triple pane insulating glass units.
08 9100 RIB Louvres
AME
Jan 2020
Operable, fixed, acoustical, and vertical or horizontal blade s ; with frame; with blank-off panels.
08 9200 RIB Louvred Equipment Enclosures
ALME
Nov 2019
Aluminum screens for concealing equipment, usually on rooftop.
09 0561 RIB Common Work Results for Flooring Preparation
A
May 2024
++ Removal of existing floor coverings; concrete testing; preparation ; remedial materials .
09 2116 RIB Gypsum Board Assemblies
A
May 2021
Gypsum wallboard and other gypsum panel types, wall and ceiling framing, shaft wall.
09 2216 RIB Non-Structural Metal Framing
A
Feb 2025
For partitions, ceilings, exterior non-wind-load-resisting, non-load-bearing walls.
09 2236 RIB Lath
A
Nov 2019
For gypsum and cement plaster; furring, ceiling framing, and accessories.
09 2300 RIB Gypsum Plastering
A
Nov 2019
Gypsum plaster interior finish; gypsum lath; trim accessories.
09 2400 RIB Cement Plastering
ACL
Nov 2023
Interior and e xterior cement plaster.
09 2613 RIB Gypsum Veneer Plastering
A
Nov 2019
Interior, maximum 6 mm thick; gypsum veneer base; trim accessories.
09 2700 RIB Plaster Fabrications
A
Feb 2020
++ Glass-fib re -reinforced gypsum; stock and custom; interior use only.
09 3000 RIB Tiling
ASCLMEDW
Feb 2022
All types of tile for floor, wall, base, and stair tread; setting materials.
09 5100 RIB Acoustical Ceilings
A
Apr 2019
S uspension system; mineral fiber, metal-faced, glass fiber , melamine foam, and wood panels.
09 5114 RIB Acoustical Fabric-Faced Panel Ceilings
A
Nov 2019
Fabric-faced, fib re glass suspended acoustical ceilings.
09 5153 RIB Direct-Applied Acoustical Ceilings
A
Nov 2019
Mineral fib re acoustic tile ceiling finish.
09 5416 RIB Luminous Ceilings
AME
Nov 2019
Suspension system, metal grid, translucent ceiling panels; painting ceiling cavity.
09 5423 RIB Linear Metal Ceilings
A
Nov 2019
Suspended, pre-finished , steel and aluminum ceiling and soffit systems.
09 5800 RIB Integrated Ceiling Assemblies
AME
Nov 2019
Suspension system, metal grid, acoustic panels, integral light fixtures, diffusers, etc.
09 6229 RIB Cork Flooring
A
Nov 2019
++ Cork tiles; site -applied finish; optional resilient wall base.
09 6313 RIB Brick Flooring
A
Nov 2019
Industrial, decorative fired clay, and shale brick; mortar set; interior.
09 6340 RIB Stone Flooring
AL
Nov 2019
Interior thin stone; mortar set or thin set; bases, thresholds, treads, risers.
09 6423 RIB Wood Parquet Flooring
A
Mar 2022
Hardwood strip, plank, and parquet flooring, glued to substrate.
09 6429 RIB Wood Strip and Plank Flooring
A
Mar 2022
Hardwood strip and plank flooring nailed to substrate .
09 6433 RIB Laminated Wood Flooring
A
Apr 2019
Multi-ply laminated wood flooring with factory applied finish.
09 6436 RIB Bamboo Flooring
A
Apr 2019
++ Bamboo plank flooring made in China; accessories.
09 6466 RIB Wood Athletic Flooring
A
Mar 2022
Wood athletic flooring; subflooring, sleepers, resilient cushioning.
09 6500 RIB Resilient Flooring
A
Apr 2019
Vinyl, vinyl composition, PVC-free, rubber, linoleum; sheet, tile, base, stair treads, risers.
09 6519 MET Resilient Tile Flooring
ASCLMED
Apr 2019
Metroflor's Aspecta Five Luxury Vinyl Tile.
09 6566 RIB Resilient Athletic Flooring
A
Apr 2019
Fluid-applied polyurethane; rubber/vinyl sheet; interlocking, non-adhered rubber tile.
09 6613 RIB Portland Cement Terrazzo Flooring
A
Nov 2019
Cementitious, ground and rustic; monolithic, sand cushion, and bonded cast-in-place terrazzo flooring .
09 6623 RIB Resinous Matrix Terrazzo Flooring
A
Jun 2020
Interior, epoxy matrix, bonded to concrete or plywood .
09 6700 RIB Fluid-Applied Flooring
A
Sep 2021
Fluid-applied flooring of any type, except ground plastic matrix terrazzo.
09 6813 RIB Tile Carpeting
A
May 2019
Carpet tile (modules); fully adhered or loose laid; matching roll carpet.
09 6816 RIB Sheet Carpeting
A
Apr 2019
Broadloom carpet; stretched-in and direct-glued; carpet cushion; trim accessories.
09 6900 RIB Access Flooring
A
Feb 2020
Access flooring systems - adjustable height or low-profile fixed height.
09 6933 FREEAX Low-Profile Fixed Height Access Flooring
A
Apr 2019
Low-profile, fixed height access flooring system by FreeAxez.
09 7200 RIB Wall Coverings
A
Nov 2019
Vinyl-coated fabric and rigid vinyl panel wall coverings.
09 7733 RIB Terrazzo Wall Finish
A
Nov 2019
Spray- and trowel-applied; epoxy, cementitious, or other synthetic matrix.
09 7800 RIB Interior Wall Paneling
A
Aug 2021
Wall paneling : decorative interior wall panels, with trim and anchorages.
09 8414 NOVA Acoustic Stretched-Fabric Wall and Ceiling Systems
ASCLMED
Apr 2019
S ite fabricated , concealed framing acoustical system by Novawall Systems, Inc .
09 8414 RIB Acoustic Stretched-Fabric Wall and Ceiling Systems
A
Jul 2020
S ite fabricated with concealed framing acoustical system .
09 8430 RIB Sound-Absorbing Wall and Ceiling Units
A
Nov 2019
Sound-absorbing units- fabric wrapped with mineral fibre, fibreglass, or melamine foam core; wood veneer; unfaced melamine foam; thermoformed plastic; vertically suspended ceiling baffles.
09 9000 PPG1 Painting and Coating - LEED v4/Green Product Guide Spec
ASCLMED
Apr 2019
PPG Paints proprietary specification; painting and coating systems for LEED v4/green projects.
09 9000 PPG2 Painting and Coating - Healthcare Facility Guide Spec
ASCLMED
Apr 2019
PPG Paints proprietary specification; painting and coating systems for healthcare facilities.
09 9000 PPG3 Painting and Coating - Hospitality Facility Guide Spec
ASCLMED
Apr 2019
PPG Paints proprietary specification; painting and coating systems for hospitality facilities.
09 9000 PPG5 Painting and Coating - Commercial Guide Spec
ASCLMED
Apr 2019
PPG Paints proprietary specification; painting and coating systems for commercial projects.
09 9113 RIB Exterior Painting
ACLME
Aug 2022
++ Exterior p aints on ordinary building surfaces & mechanical & electrical work.
09 9123 RIB Interior Painting
ACLME
Jul 2022
++ Interior p aints on ordinary building surfaces & mechanical & electrical work.
09 9300 RIB Staining and Transparent Finishing
ACLME
May 2023
S tains and transparent finishes on wood substrates; interior and exterior.
09 9600 RIB High-Performance Coatings
A
Jan 2022
Fluid-applied coatings for durability, chemical resistance, corrosion resistance.
09 9723 RIB Concrete and Masonry Coatings
A
Jul 2020
Fluid-applied, heavy - build, moisture - resistant, textured coatings ; moisture-resistant smooth coatings.
09 9725 RIB Mineral-Based Coatings
A
Nov 2019
Potassium silicate mineral-based coatings.
09 9730 RIB Decorative Cementitious Coatings
ACL
Nov 2019
Cementitious textured and micro-topping coatings ; exterior and interior.
10 1101 RIB Visual Display Boards
A
Apr 2019
Chalkboards, markerboards, tackboards; aluminum and wood frames; accessories.
10 1124 RIB Tackable Wall Systems
A
Apr 2019
Fabric-covered, site fabricated, minimal fabric seams, concealed framing.
10 1400 RIB Signage
AL
Nov 2019
++ Flat and curved accessibility-required signage; other types.
10 1500 RIB Video Display Systems
A
Apr 2019
++ LED Dynamic Video Display Systems
10 2113.13 RIB Metal Toilet Compartments
A
Apr 2019
Paint finish, stainless steel, porcelain enamel; floor-, wall-, ceiling-mounted.
10 2113.16 RIB Plastic-Laminate-Clad Toilet Compartments
A
Apr 2019
High-pressure laminate veneered; floor-, wall-, ceiling-mounted; urinal screens.
10 2113.17 RIB Phenolic Toilet Compartments
A
Apr 2019
Phenolic toilet compartments ; floor-, wall-, ceiling-mounted; urinal screens.
10 2113.19 RIB Plastic Toilet Compartments
A
Apr 2019
Solid plastic high-density polyethylene (HDPE); or solid surface composition of acrylic resin and mineral filler.
10 2123 RIB Cubicle Curtains and Track
A
Nov 2019
Cubicle c urtains , blackout curtains, and overhead track; light-duty.
10 2213 RIB Wire Mesh Partitions
AL
Nov 2019
Steel, stainless steel; heavy or standard duty woven wire mesh panels, doors, and hardware.
10 2219 RIB Demountable Partitions
A
Nov 2019
Reusable, modular components; doors, frames, insulation, and wall covering.
10 2219.63 AVNTI Demountable Glass Partitions
ASCLMED
Apr 2019
Avanti; Reusable, modular components; glass doors & frames.
10 2229 AVNTI Full Height Glazed Partition System
ASCLMED
Apr 2019
Avanti; single and double glazed, aluminum head and base channel.
10 2233 RIB Accordion Folding Partitions
A
Jan 2024
Acoustic and non-acoustic type; manual and electric; overhead track and hardware.
10 2239 RIB Folding Panel Partitions
A
Jan 2024
Overhead supported; may be acoustical or fire-resistance-rated; manual or electric.
10 2241 RIB Operable Glass Partitions
A
Feb 2020
Tempered /laminated glass ; top hung, individual m anual sliding/stacking panels.
10 2310 RIB Glazed Interior Wall and Door Assemblies
A
Nov 2019
Framed and frameless; pivoting and sliding wood, alum. or glass doors.
10 2600 RIB Wall and Door Protection
A
Mar 2022
Guards, rails, wall, door, and frame protection.
10 2641 RIB Ballistics Resistant Panels
A
Aug 2023
Ballistic-resistant panels; laminated fibre; steel and aluminum.
10 2800 RIB Toilet, Bath, and Laundry Accessories
A
Nov 2024
Commercial and residential accessories for t oilet room, shower , and bath; utility room accessories.
10 3100 RIB Manufactured Fireplaces
A
Nov 2019
Steel cabinet fireplaces; chimney; optional doors, screens, and accessories.
10 4400 RIB Fire Protection Specialties
AME
Dec 2019
Fire extinguishers, cabinets, mounting hardware, and fire blankets.
10 5113 RIB Metal Lockers
A
Nov 2019
Steel lockers; any configuration ; benches, locks.
10 5116 RIB Wood Lockers
A
Nov 2019
Factory fabricated wood lockers; any configuration ; benches, locks.
10 5126 RIB Plastic Lockers
A
Nov 2019
Solid plastic high density polyethylene (HDPE) lockers; any configuration ; benches, locks.
10 5129 RIB Phenolic Lockers
A
Feb 2022
Any configuration ; benches, locks.
10 5500 RIB Postal Specialties
A
Nov 2019
Canada Post-compliant; m ultiple compartment units.
10 5591 RIBXX Mail Chutes-NOT USED IN CANADA
A
Apr 2019
Repair of existing mail chutes only.
10 5613 RIB Metal Storage Shelving
A
Feb 2020
Four post, case-type, and cantilever style; freestanding or fixed.
10 5617 RIB Wall Mounted Standards and Shelving
A
Feb 2022
Residential/commercial; optional wood, glass, and laminate shelves.
10 5626 RIB Mobile Storage Shelving
A
Feb 2020
Mobile storage shelving; mechanically assisted, manual, or motorized operation.
10 5629.16 RIB Pallet Storage Racks
A
Feb 2020
Industrial pallet storage racks.
10 5723 RIB Closet and Utility Shelving
A
Nov 2019
++ Coated wire closet shelving; associated laminate shelves.
10 7113 RIB Exterior Sun Control Devices
A
Feb 2020
Operable type; sun control louvres, retractable blinds.
10 7113.43 RIB Fixed Sun Screens
A
May 2022
Extruded aluminum, horizontal or vertical , attached to structure.
10 7313 RIB Awnings
A
May 2022
Fixed awnings; standard or custom shape; aluminum or steel pipe or tube frames.
10 7316.13 RIB Metal Canopies
A
Feb 2020
Freestanding shop fabricated metal canopies.
10 7326 RIB Walkway Coverings
A
May 2022
Fabric or metal walkway coverings ; aluminum or steel frames.
10 7343 RIB Transportation Stop Shelters
ASC
Feb 2020
Factory fabricated shelters, steel or aluminum structure.
10 7413 RIB Exterior Clocks
AME
Dec 2019
Exterior clocks; automatic master clock controlled or manual remote reset controlled.
10 7500 RIB Flagpoles
AL
Feb 2020
Steel, aluminum, stainless steel, bronze, fib re glass; manual, electric; accessories.
10 8200 RIB Grilles and Screens
A
Nov 2019
Shop fabricated aluminum grilles attached to structure.
11 1136 RIB Vehicle Charging Equipment
ME
Feb 2023
Electric vehicle charging stations; AC Level 2 and DC Fast charging.
11 1200 RIB Parking Control Equipment
AL
Nov 2019
Parking revenue components, and parking access controls .
11 1313 RIB Loading Dock Bumpers
A
Nov 2019
Rubber, molded or laminated, reinforced; steel frame and joiners, anchor bolts.
11 1316 RIB Loading Dock Seals and Shelters
A
Nov 2019
Loading dock seals and shelters for trucks.
11 1319 RIB Stationary Loading Dock Equipment
A
Nov 2019
Types of stationary loading dock equipment; lifts, levelers, etc.
11 1319.13 RIB Loading Dock Levelers
A
Dec 2019
Loading dock levelers; mechanical vehicle safety restraints.
11 1400 RIB Pedestrian Control Equipment
A
Nov 2019
Optical, waist-, and full-height turnstiles and pedestrian gates.
11 3013 RIB Residential Appliances
A
Nov 2019
Residential kitchen and laundry appliances.
11 4000 RIB Foodservice Equipment
A
Nov 2019
General specification requirements; supplements separate equipment list or schedule.
11 4001 RIB Custom Fabricated Foodservice Equipment
A
Nov 2019
Fixed, stainless steel furniture and sinks, with minor electrical and gas requirements.
11 5213 RIB Projection Screens
A
Nov 2019
++ Front and rear projection screens; wall, ceiling, and frame mounted.
11 5300 RIB Laboratory Equipment
A
Nov 2019
General specification requirements; supplements equipment schedule.
11 5310 RIB Vivarium Equipment
A
Nov 2021
General specification requirements; supplements equipment schedule.
11 5313 RIB Laboratory Fume Hoods
A
Feb 2020
General specification requirements; supplements equipment schedule.
11 5314 RIB Fume Extractors
A
Nov 2019
Fume extractors for laboratory and production use.
11 5320 RIB Modular Wall Panel Enclosures
A
Nov 2019
Modular wall panel enclosure for scientific equipment.
11 5353 RIB Biological Safety Cabinets
A
Nov 2019
Biological safety cabinets; supplementing schedule.
11 6143 RIB Stage Curtains
A
Feb 2020
Types of stage curtain fabrics and curtain support track systems .
11 6623 RIB Gymnasium Equipment
AL
Nov 2019
Basketball , gym dividers , volleyball , exercise eqmt ., floor anchors , and wall pads.
11 6813 RIB Playground Equipment
AL
Nov 2019
Outdoor play structures for schools and parks;
11 8226 RIB Facility Waste Compactors
A
May 2022
Commercial/Institutional; discharge containers may be supplied by O wner.
12 2113 RIB Horizontal Louvre Blinds
A
Nov 2019
Metal , plastic, or wood; manual or motor operated control.
12 2116 RIB Vertical Louvre Blinds
A
Nov 2019
Manual operation; PVC, aluminum, fabric vanes; optional electric operation.
12 2216 RIB Drapery Track and Accessories
A
Nov 2019
Formed steel or extruded aluminum; manual or electrically operated; carriers.
12 2400 LUT Window Shades - Lutron Sivoia QS/Sivoia QS Wireless
ASCLMED
Apr 2019
Lutron motorized/manual roller shades and controls.
12 2400 LUT2 Window Shades - Lutron Serena/Triathlon
ASCLMED
Apr 2019
Lutron motorized/manual roller and honeycomb shades and controls.
12 2400 LUT3 Window Shades - Lutron Contract Roller
ASCLMED
Apr 2019
Lutron motorized/manual roller shades and controls.
12 2400 RIB Window Shades
AME
Jul 2020
Roller shades for interior and exterior applications ; manual/motorized.
12 2509.13 LUT Window Shade Control System - Lutron Hyperion
ASCLMED
Apr 2019
Lutron automated solar adaptive window shade control system.
12 3100 RIB Manufactured Metal Casework
A
Feb 2020
Factory-fabricated, commercial or institutional quality; countertop s.
12 3200 RIB Manufactured Wood Casework
A
Nov 2019
++ Factory-fabricated, commercial or institutional quality wood casework .
12 3530 RIB Residential Casework
A
Nov 2019
Factory-fabricated modular particleboard; plastic laminate, wood veneer finish.
12 3553.13 RIB Metal Laboratory Casework
A
Feb 2020
Factory-fabricated, commercial or institutional quality steel with laboratory fittings.
12 3553.19 RIB Wood Laboratory Casework
A
Feb 2020
Factory-fabricated, commercial or institutional quality wood with laboratory fittings.
12 3600 RIB Countertops
AL
Feb 2022
Commonly used materials; exotics; laboratory tops.
12 4813 RIB Entrance Floor Mats and Frames
AL
Nov 2019
Recessed grilles & gratings; surface or recesssed mats, mat frames.
12 6100 RIB Fixed Audience Seating
A
Mar 2023
Upholstered and non-upholstered interior seating .
12 6613 RIB Telescoping Bleachers
AL
Nov 2019
++ Telescoping bleachers with wood, molded plastic, or extruded aluminum seats.
12 6823 RIB Folding Cafeteria Tables
A
Nov 2019
Wall-mounted cafeteria tables and benches.
12 9313 RIB Bicycle Racks
ACL
Nov 2019
I ndoor types ; many styles.
12 9314 RIB Bicycle Lockers
AL
Nov 2019
++ I ndoor; many styles.
13 1100 RIB Swimming Pools
ACLME
Feb 2020
Shotcrete, or modular aluminum or fiberglass; accessories.
13 1713 RIB Hot Tubs
ALME
Feb 2020
Pre- fabricated hot tubs for installation on site .
13 2126 RIB Cold Storage Rooms
AME
Nov 2019
P refabricated , insulated , with wall/ceiling panels.
13 2129 RIB Constant Temperature Rooms
AME
Nov 2019
Constant Temperature Rooms for research or manufacturing.
13 2129.13 RIB Insectary Controlled Environment Rooms
AME
Nov 2019
Insectary Controlled Environment Rooms for research or production.
13 2416 RIB Saunas
AME
Feb 2020
Shop-fabricated site-assembled or site-constructed; room enclosure, equipment.
13 2426 RIB Steam Baths
AME
Feb 2020
Shop-fabricated site-assembled or site-constructed; wood finish; equipment.
13 3100 RIB Fabric Structures
ASCL
Nov 2019
Fabric structures supported by rigid structures and cables; design-build specification.
13 3419 RIB Metal Building Systems
ASC
Nov 2019
P ackaged steel buildings; frame, metal panels, insulation , etc.
13 3423.16 RIB Fabricated Control Booths
ASC
Feb 2020
Factory fabricated booths fully assembled for installation on site.
13 4213 RIB Bathroom Unit Modules
ASC
Nov 2019
Pre-fabricated bathroom unit modules, delivered to site for installation.
13 4713 RIB Cathodic Protection
ACME
Nov 2019
Passive, underground corrosion protection using sacrificial anodes.
13 4823.11 LSP Sound Control Assemblies with Composite Panel Facings
ASCLMED
Apr 2019
STC-3 Sound Control Assemblies by Life Science Products Inc.
13 4913 RIB Integrated X-Ray Shielding Assemblies
A
Nov 2019
Medical diagnostic only; sheet lead; view window frames, film transfer cabinets, etc.
13 4923 RIB Integrated RFI/EMI Shielding Assemblies
ASME
Nov 2019
++ Custom, architecturally-integrated shielding.
13 4926 RIB Modular RFI/EMI Shielding Rooms
AME
Nov 2019
++ Free-standing, demountable; manufacturer-designed.
13 4926 RIB Modular RFI/EMI Shielding Rooms
AME
Apr 2019
++ Free-standing, demountable; manufacturer-designed.
14 1200 RIB Electric Dumbwaiters
A
Aug 2019
Drum or traction drive; standard manufactured units; hoistway openings.
14 2020 RIB Freight Elevators
A
Aug 2019
Electric and hydraulic "true" freight elevators; standard manufactured units.
14 2100 RIB Electric Traction Elevators
A
Dec 2021
G earless electric traction elevator types with various systems .
14 2400 RIB Hydraulic Elevators
A
Dec 2021
H oleless and buried casing hydraulic elevators with various systems .
14 3100 RIB Escalators
A
May 2019
Standard packaged escalators; glass and solid balustrades; 30 degree incline.
14 9100 RIB Facility Chutes
A
May 2022
Gravity chutes for waste, linen, and recyclables.
21 0500 RIB Common Work Results for Fire Suppression
ME
Jun 2020
Pipe material s and fittings normally found in liquid fire protection systems.
21 0513 RIB Common Motor Requirements for Fire Suppression Equipment
ME
Jul 2020
Electric motors and accessories supplied as part of fire suppression equipment.
21 0523 RIB General-Duty Valves for Water-Based Fire-Suppression Piping
ME
Nov 2019
General-duty valves for water-based fire-suppression piping.
21 0533 RIB Heat Tracing for Fire Suppression Piping
ME
Nov 2019
Electric heat tracing for wet fire suppression branch piping.
21 0548 RIB Vibration and Seismic Controls for Fire Suppression Piping and Equipment
ME
Jan 2021
Vibration isolation and seismic control requirements and components for fire suppression work.
21 0553 RIB Identification for Fire Suppression Piping and Equipment
ME
Jan 2021
N ameplates, labels; piping identification installed on site .
21 0716 RIB Fire Suppression Equipment Insulation
ME
Aug 2020
Insulation for fire suppression equipment.
21 0719 RIB Fire Suppression Piping Insulation
ME
Feb 2022
Thermal insulation; jackets; accessories.
21 1100 RIB Facility Fire-Suppression Water-Service Piping
ME
Aug 2020
Facility fire-suppression water-service piping, joints, fittings, valves, fire department connections, private fire hydrants, water meters, polyethylene jacketing (encasement), accessories.
21 1200 RIB Fire-Suppression Standpipes
ME
Aug 2020
Wet or dry standpipes; fire hose cabinets and hose; fire department connection.
21 1300 RIB Fire-Suppression Sprinkler Systems
ME
Jan 2021
Automatic system; may be designed by a specialist sprinkler company.
21 1339 RIB Foam-Water Systems
ME
Jan 2021
AFFF foam extinguishing systems for fuel and other hazards.
21 2200 RIB Clean-Agent Fire-Extinguishing System
ME
Jan 2021
++ Total flooding extinguishing; NFPA 2001 clean agent or carbon dioxide.
21 2300 RIB Wet-Chemical Fire-Extinguishing System
ME
Jan 2021
Pre-engineered, fixed-pipe, automatic wet-chemical fire suppression system .
21 2400 RIB Dry-Chemical Fire-Extinguishing System
ME
Jan 2021
Pre-engineered, fixed-pipe, automatic dry-chemical fire suppression system .
21 3000 RIB Fire Pumps
ME
Jan 2021
Fire pumps; electric motor and diesel engine drivers; electric jockey pumps; controls.
22 0513 RIB Common Motor Requirements for Plumbing Equipment
ME
Jan 2021
Electric motors and accessories supplied as part of plumbing equipment.
22 0516 RIB Expansion Fittings and Loops for Plumbing Piping
ME
May 2022
Fittings and methods; thermal expansion and movement.
22 0517 RIB Sleeves and Sleeve Seals for Plumbing Piping
ME
Jan 2021
Products covered in this section are pipe sleeves and manufactured sleeve-seal systems for installation of plumbing piping through exterior walls and floor/ceiling assemblies.
22 0519 RIB Meters and Gauges for Plumbing Piping
ME
Jan 2021
Fixed measuring devices showing local indication of conditions.
22 0523 RIB General-Duty Valves for Plumbing Piping
ME
Jan 2021
General-duty valves for plumbing piping.
22 0529 RIB Hangers and Supports for Plumbing Piping and Equipment
ME
Nov 2021
Support and attachment components for plumbing work.
22 0533 RIB Heat Tracing for Plumbing Piping
ME
Jan 2021
Electric heat tracing for plumbing piping.
22 0548 RIB Vibration and Seismic Controls for Plumbing Piping and Equipment
ME
Nov 2021
Vibration isolation and seismic control requirements and components for plumbing work.
22 0553 RIB Identification for Plumbing Piping and Equipment
ME
Jan 2021
Site -installed nameplates, labels; piping identification.
22 0716 RIB Plumbing Equipment Insulation
ME
Jan 2021
Thermal insulation; jackets; accessories.
22 0719 RIB Plumbing Piping Insulation
ME
Sep 2021
Thermal insulation; jackets; accessories.
22 0719.11 PLUMX Under-Lavatory Pipe and Supply Covers - Plumberex
ASCLMED
Sep 2021
Plumberex; under-lavatory pipe and supply covers.
22 1005 RIB Plumbing Piping
CME
Jan 2023
S anitary (including s oil, waste, vent ) , domestic water, and storm wate r piping; disinfection.
22 1006 RIB Plumbing Piping Specialties
ME
Nov 2021
Roof and floor drains; cleanouts; hose bibs; hydrants; backflow preventers; etc.
22 1343 RIB Facility Packaged Sewage Pumping Stations
ACMEW
Jan 2021
Wet well; solids handling, grinder pumps: submersible, or above/beside.
22 1500 RIB General-Service Compressed-Air Systems
ME
Dec 2021
Non-medical; pipe and pipe fittings; compressor; equipment.
22 3000 RIB Plumbing Equipment
ME
May 2022
Plumbing equipment.
22 4000 RIB Plumbing Fixtures
AME
Nov 2024
Typical commercial and residential plumbing fixtures and trim.
22 4300 RIB Healthcare Plumbing Fixtures
AME
Jan 2024
Fixtures especially designed for medical and psychiatric facilities.
22 4500 RIB Emergency Plumbing Fixtures
AME
Jan 2021
Emergency plumbing fixtures for industrial buildings and chemical laboratories.
22 4600 RIB Security Plumbing Fixtures
ASCLMED
Jan 2024
Security plumbing fixtures for institutional occupancies.
22 5100 RIB Swimming Pool Plumbing Systems
LME
Jan 2021
Piping and equipment that is normally installed by a single installer.
22 6005 RIB Medical Air, Gas, and Vacuum Systems
ME
Jan 2021
The most common medical gas systems and components; specialized fittings .
23 0130.51 RIB HVAC Air-Distribution System Cleaning
AME
Jan 2021
++ Duct and equipment cleaning; testing and inspection.
23 0513 RIB Common Motor Requirements for HVAC Equipment
ME
May 2021
Electric motors and accessories normally supplied as part of HVAC equipment.
23 0516 RIB Expansion Fittings and Loops for HVAC Piping
ME
May 2022
Fittings and practices to compensate for thermal expansion and other movement.
23 0517 RIB Sleeves and Sleeve Seals for HVAC Piping
ME
Jan 2021
Pipe sleeves and sleeve-seal systems,
23 0519 RIB Meters and Gauges for HVAC Piping
ME
Jan 2021
Fixed measuring devices showing local indication of conditions.
23 0523 RIB General-Duty Valves for HVAC Piping
ME
Jan 2021
General-duty valves for HVAC piping.
23 0529 RIB Hangers and Supports for HVAC Piping and Equipment
ME
Nov 2021
Support and attachment components for HVAC piping, hydronic piping, and equipment.
23 0533 RIB Heat Tracing for HVAC Piping
ME
Jan 2021
Electric heat tracing for HVAC piping.
23 0548 RIB Vibration and Seismic Controls for HVAC
ME
Nov 2021
Vibration isolation and seismic control requirements and components for HVAC work.
23 0553 RIB Identification for HVAC Piping and Equipment
ME
Nov 2019
Field-installed nameplates, labels; piping identification.
23 0593 RIB Testing, Adjusting, and Balancing for HVAC
ME
Jan 2021
T esting, adjusting, and balancing (TAB) of HVAC systems and eqipment.
23 0713 RIB Duct Insulation
ME
Jan 2021
Thermal and acoustic insulation; jackets; for ducts and air handling devices.
23 0716 RIB HVAC Equipment Insulation
ME
Jan 2021
Thermal insulation; jackets; accessories.
23 0719 AIREX HVAC Piping Insulation - Airex
ASCLMED
Sep 2021
Airex; proprietary HVAC piping insulation.
23 0719 RIB HVAC Piping Insulation
ME
Sep 2021
Thermal insulation; jackets; accessories.
23 0800 RIB Commissioning of HVAC
ME
Jan 2021
Scope, objectives, procedures, Contractor's responsibilities.
23 0913 RIB Instrumentation and Control Devices for HVAC
ME
Jul 2022
Devices normally found in pneumatic, digital, and electric control systems.
23 0923 RIB Direct-Digital Control System for HVAC
ME
Jan 2021
Components and software for a direct digital HVAC control system.
23 0943 RIB Pneumatic Control System for HVAC
ME
Jan 2021
Various devices normally found in a complete pneumatic control system.
23 0993 RIB Sequence of Operations for HVAC Controls
ME
Jan 2021
U se for description of overall operation, coordinating a pplicable HVAC sections.
23 1113 RIB Facility Fuel-Oil Piping
CME
Jan 2021
Tanks, piping, fittings, pumps, and valves.
23 1123 RIB Facility Natural-Gas Piping
CME
Jan 2021
N atural gas piping.
23 1126 RIB Facility Liquefied-Petroleum Gas Piping
CME
Jan 2021
Liquefied-petroleum gas piping. .
23 2113 RIB Hydronic Piping
ME
Jan 2021
Heating, glycol, chilled water, condenser water, and engine exhaust piping systems.
23 2113.33 RIB Ground-Loop Heat-Pump Piping
ACME
Jan 2021
++ Ground-coupled heat exchangers; polyethylene or copper piping.
23 2114 RIB Hydronic Specialties
ME
Jan 2021
Expansion tanks; air vents; relief valves; strainers; flow indicators; air separators; etc.
23 2123 RIB Hydronic Pumps
ME
Jan 2021
Centrifugal pumps and accessories normally encountered in hydronic systems.
23 2213 RIB Steam and Condensate Heating Piping
ME
Jan 2021
Pipe materials, fittings, and valves normally encountered.
23 2214 RIB Steam and Condensate Heating Specialties
ME
Nov 2021
Traps; air vents; tanks; boiler feed units; condensate return pumps; valves; etc.
23 2300 RIB Refrigerant Piping
ME
Sep 2021
Piping and piping specialties normally found in built-up refrigerant systems.
23 2500 RIB HVAC Water Treatment
ME
Jan 2021
Equipment/materials for cleaning and treating HVAC hydronic and steam systems.
23 3100 RIB HVAC Ducts and Casings
ME
Jan 2021
Metal, non-metal, buried, kitchen hood; casings, plenums, cleaning.
23 3300 RIB Air Duct Accessories
ME
Jul 2022
Dampers ; access doors, test holes, air turning devices , and flexible duct connections .
23 3319 RIB Duct Silencers
ME
Jan 2021
Duct and cross-talk silencers, acoustic housings, duct lagging, acoustical louvers.
23 3413 RIB Axial HVAC Fans
ME
Mar 2022
Vaneaxial, tubeaxial, propeller; motors and drives.
23 3416 RIB Centrifugal HVAC Fans
ME
Jan 2021
Backward inclined, forward curved, airfoil wheel , radial, bearings and drives, motors, and accessories .
23 3423 RIB HVAC Power Ventilators
ME
Mar 2022
Roof and wall exhausters; cabinet and ceiling exhaust fans.
23 3433 RIB Air Curtains
ME
Jan 2021
For door and window openings to reduce heating/cooling losses, wind gusts, pests.
23 3513 RIB Dust Collection Systems
ME
Jan 2021
Equipment, ducts, and accessories; complete system.
23 3516 RIB Engine Exhaust Systems
ME
Jul 2021
Ductwork, fittings and equipment; complete system for motor vehicle tailpipe exhaust in enclosed vehicle maintenance areas .
23 3600 RIB Air Terminal Units
ME
Jan 2021
Various types of air terminal units.
23 3700 RIB Air Outlets and Inlets
ME
Jul 2022
Various types of air outlets and inlets.
23 3813 RIB Commercial-Kitchen Hoods
AME
Jan 2021
Grease extracting, grease filter, condensate type; duct connections; fire extinguishing.
23 4000 RIB HVAC Air Cleaning Devices
ME
Dec 2024
Air filters and air cleaning devices.
23 5100 RIB Breechings, Chimneys, and Stacks
ME
Jan 2021
Built-up and manufactured products; vent dampers; induced draft fans.
23 5213 RIB Electric Boilers
ME
Jan 2021
Packaged hot water/steam boilers; controls.
23 5216 RIB Condensing Boilers
ME
Jan 2021
Packaged hot water ; trim; fuel burning system; controls; natural gas, propane , or fuel oil; indoor or outdoor.
23 5223 RIB Cast-Iron Boilers
ME
Jan 2021
Packaged boilers, controls, and boiler trim accessories; hot water/steam generation.
23 5233 MIURA Packaged, Modular Water-Tube Boilers
ASCLMED
Apr 2019
Section is Obsolete and will no longer be updated
23 5233 MIURXX Packaged, Modular Water-Tube Boilers
ASCLMED
Apr 2019
Section is Obsolete and will no longer be updated
23 5233 RIB Water-Tube Boilers
ME
Jan 2021
Packaged or field assembled water / team; burners; controls; natural gas, propane, fuel oil.
23 5233.13 RIB Finned Water-Tube Boilers
ME
Jan 2021
Packaged hot water boilers, controls, and accessories.
23 5233.16 RIB Steel Water-Tube Boilers
ME
Jan 2021
Packaged hot water/steam; power burners; controls; natural gas, propane, fuel oil.
23 5239.13 RIB Scotch Marine Boilers
ME
Jan 2021
Oil/gas fire-tube boilers, boiler trim, and connections.
23 5400 RIB Furnaces
ME
Jan 2021
Gas, oil, and electric; with optional economizer, humidifiers, air cleaners.
23 5533 RIB Fuel-Fired Unit Heaters
ME
Jan 2021
Unit heaters, industrial heaters, duct furnaces, infrared heaters; packaged units.
23 5613.13 RIB Heating Solar Flat-Plate Collectors
ME
Jan 2021
Collectors, controls, pumps, valves, chemical treatment.
23 5700 RIB Heat Exchangers for HVAC
ME
Jan 2021
Shell and tube type; plate type; common accessories.
23 6100 RIB Refrigerant Compressors
ME
Jan 2021
Packaged compressors; controls and motor starters.
23 6213 RIB Packaged Air-Cooled Refrigerant Compressor and Condenser Units
ME
Jan 2021
Outdoor; enclosure, refrigerant compressors, condensing coils and fans, controls.
23 6313 RIB Air Cooled Refrigerant Condensers
ME
Jan 2021
Packaged condensers, controls, starters, connections.
23 6413 RIB Absorption Water Chillers
ME
Jan 2021
Packaged units ; lithium bromide refrigerant; gas/oil/steam/hot water heat source; controls.
23 6416 RIB Centrifugal Water Chillers
ME
Jan 2021
Packaged centrifugal compressor, water cooled condenser.
23 6423 RIB Scroll Water Chillers
ME
Jan 2021
Packaged, water/air-cooled scroll type; for indoor and outdoor use.
23 6426 RIB Rotary-Screw Water Chillers
ME
Jan 2021
Packaged, water/air-cooled rotary screw type; for indoor and outdoor use.
23 6433 RIB Modular Water Chillers
ME
Jan 2021
Packaged, water/air-cooled modular type; for indoor and outdoor use.
23 6513 RIB Forced-Draft Cooling Towers
ME
Jan 2021
Steel, blow-through; fan, fill, controls; framework, safety railing, ladder.
23 6516 RIB Natural-Draft Cooling Towers
ME
Jan 2021
Wood, steel, fib re glass; fans, fill, controls; framework, safety railing, ladder.
23 6522 RIB Ejector Cooling Towers
ME
Jan 2021
Packaged, steel, parallel flow, blow-through, water injection process; controls.
23 6533 RIB Liquid Coolers
ME
Jan 2021
Packaged liquid coolers using evaporative cooling; circulating pump; accessories.
23 7223 RIB Packaged Air-to-Air Energy Recovery Units
ME
Jan 2021
Dessicant wheel type units .
23 7313 RIB Modular Indoor Central-Station Air-Handling Units
ME
Dec 2024
Modular packaged units; coils, mixing boxes, filters, dampers, humidifiers.
23 7413 RIB Packaged Outdoor Central-Station Air-Handling Units
ASCLMEDW
Jan 2021
Self-contained; electric cooling; gas, electric, or heat pump heating; controls.
23 7433 RIB Dedicated Outdoor Air Units
ME
Jan 2021
Gas fired make-up air units; integrated air-cooled refrigeration; indoor and outdoor.
23 8113 RIB Packaged Terminal Air-Conditioners
ME
Jan 2021
Packaged indoor refrigerant units; water cooled or external air cooled condenser.
23 8119 RIB Self-Contained Air-Conditioners
ME
Jan 2021
Free standing or through-the-wall; air conditioning and heat pump units; controls.
23 8124 RIB Computer Room Air Conditioners - Floor Mounted
ME
Jan 2021
Floor mounted units specifically designed for computer rooms.
23 8125 RIB Computer Room Air Conditioners - Ceiling Mounted
ME
Jan 2021
Ceiling - mounted units specifically designed for computer rooms.
23 8126.13 RIB Small-Capacity Split-System Air Conditioners
ME
Nov 2024
Matched indoor/outdoor units; furnace, AC, air-/water-source heat pumps.
23 8129 RIB Variable Refrigerant Flow HVAC Systems
ME
Jan 2021
++ Highly efficient heat pump and heat recovery systems .
23 8130 DAIKN Basis of Design VRV Equipment
ME
Apr 2019
Daikin AC VRV Equipment; outdoor/condensers, indoor/evaporators.
23 8146 RIB Water-Source Unitary Heat Pumps
ME
Jan 2021
Water-source heat pumps, including hose kits and valves.
23 8149 RIB Ground-Source Unitary Heat Pumps
ME
Jan 2021
++ Water source heat pumps with refrigerant-to-water condensers and evaporators.
23 8200 RIB Convection Heating and Cooling Units
ME
Jan 2021
Terminal units with water, steam, electric, and refrigerant coils.
23 8214 RIB Chilled Beams
ME
Jan 2021
Chilled beam terminal units for DOAS (dedicated outdoor air system) applications.
23 8300 RIB Radiant Heating and Cooling Units
ME
Nov 2021
Hydronic and electric radiant heating units.
23 8413 RIB Humidifiers
ME
Jan 2021
Wetted media humidifiers and evaporative coolers; for installation in equipment.
23 8413.13 RIB Heated-Pan Humidifiers
ME
Jan 2021
Heated - pan humidifiers using hot water, steam, or electricity for heat source.
23 8415 RIB Steam Humidifiers
ME
Jan 2021
Steam humidifiers consisting of dry steam and electrode steam humidifiers.
23 8417 RIB Sprayed Coil Dehumidifiers
ME
Jan 2021
Packaged; for central air handling units; optional spray pumps.
25 0190 RIB Diagnostic System for Integrated Automation
ME
Feb 2021
25 0500 RIB Common Work Results for Integrated Automation
ME
Jan 2021
Common work results and procedures applicable only to Division 25.
25 0800 RIB Commissioning of Integrated Automation
ME
Feb 2021
25 1400 RIB Integrated Automation Local Control Units
ME
May 2021
Local control units (c ontrollers) suitable for commercial, institutional, and industrial HVAC applications.
25 3500 RIB Integrated Automation Instrumentation and Terminal Devices for HVAC
ME
Jan 2021
HVAC terminal device (screen) for single controller or small network.
25 3513 RIB Integrated Automation Actuators and Operators
ME
Jan 2021
Actuators and operators for valves and dampers.
25 3516 RIB Integrated Automation Sensors and Transmitters
ME
Jul 2022
Sensors and switches with related accessories.
25 3519 RIB Integrated Automation Control Valves
ME
Jan 2021
Control valves of the solenoid, zone, globe, ball and butterfly types for HVAC applications.
25 3523 RIB Integrated Automation Control Dampers
ME
Jul 2022
Control dampers, adjustable louvres, damper-louvre assembly, smoke dampers, and fire control dampers for HVAC applications.
25 3526 RIB Integrated Automation Compressed Air Supply
ME
Dec 2021
Compressed air supply in terms of production (system), distribution (piping), and delivery.
26 0505 RIB Selective Demolition for Electrical
ME
Jun 2020
Removal and abandonment of wiring, conduit, and equipment.
26 0513 RIB Medium-Voltage Cables
ME
Jun 2020
Cable and accessories, for systems rated above 600 volts to 35,000 volts.
26 0519 RIB Low-Voltage Electrical Power Conductors and Cables
ME
Jun 2020
++ Conductors, cables, wiring connectors, accessories for 600 V and less.
26 0519.13 RIB Undercarpet Electrical Power Cables
ME
Jun 2020
Flat cable and fittings for undercarpet power and communications distribution.
26 0526 RIB Grounding and Bonding for Electrical Systems
ME
Jun 2020
General requirements and basic components.
26 0529 RIB Hangers and Supports for Electrical Systems
ME
Jun 2020
Support and attachment components for electrical work.
26 0533.13 RIB Conduit for Electrical Systems
ME
Jun 2020
Electrical conduit and tubing, fittings, accessories.
26 0533.16 RIB Boxes for Electrical Systems
ME
Jun 2020
Outlet, junction, pull, and floor boxes; cabinets; underground enclosures
26 0533.23 RIB Surface Raceways for Electrical Systems
ME
Jun 2020
Surface raceway systems, wireway, and wall duct.
26 0536 RIB Cable Trays for Electrical Systems
ME
Jun 2020
M etal and fibreglass cable tray systems.
26 0539 RIB Underfloor Raceways for Electrical Systems
ME
Jun 2020
Underfloor ducts, cellular underfloor raceway, and service fittings.
26 0548 RIB Vibration and Seismic Controls for Electrical Systems
ASCLMED
Jan 2021
Vibration isolation and seismic control requirements and components for electrical work.
26 0553 RIB Identification for Electrical Systems
ME
Jun 2020
++ Field-installed nameplates, labels, etc., for equipment, wiring and components.
26 0573 RIB Power System Studies
ME
Jul 2020
++Short-circuit, coordination studies; arc flash/shock risk assessment.
26 0583 RIB Wiring Connections
ME
Mar 2022
Connections for mechanical, architectural, and other equipment.
26 0650.16 RIB Lighting Fixture Schedule
ALME
Jun 2020
Specific requirements for individual luminaire types .
26 0907 HLO Electronically Controlled Switchable Glass Controls – Halio
ASCLMED
Sep 2021
Halio; proprietary controls for use with Halio EC switchable IGUs.
26 0916 RIB Electric Controls and Relays
ME
Jun 2020
Switches, pushbuttons, relays, timers, counters, control power transformers, panels.
26 0917 RIB Programmable Controllers
ME
Jun 2020
Controllers and programming accessories.
26 0918 RIB Remote Control Switching Devices
ME
Jun 2020
Low voltage control of 120 and 277 volt lighting and general purpose branch circuits.
26 0923 LUT Lighting Control Devices - Lutron
ASCLMED
Apr 2019
Lutron devices for automatic control of lighting and other loads .
26 0923 RIB Lighting Control Devices
LME
Jun 2020
Devices for automatic lighting control; lighting contactors.
26 0924 LUT Lighting Controls - Lutron Energi TriPak
ASCLME
Apr 2019
Lutron wireless lighting control systems for single spaces.
26 0924 LUT2 Lighting Controls - Lutron Caseta Wireless
ASCLMED
Apr 2019
Lutron wireless controls for lighting, temperature and shades; window treatments
26 0924 LUT3 Lighting Controls - Lutron Vive
ASCLMED
Apr 2019
Lutron wireless lighting control s with centralized wireless hubs.
26 0925 LUT Lighting Controls - Limelight by Lutron
ASCLMED
Apr 2019
Lutron wireless control s for outdoor, parking structure, warehouse lighting.
26 0936 LUT Modular Dimming Controls - Lutron QS
ASCLMED
Apr 2019
Lutron s tandalone lighting control system.
26 0943 LUT Network Lighting Controls - Lutron QS/Quantum
ASCLMED
Apr 2019
Lutron digital-network lighting control system.
26 0943 LUT2 Network Lighting Controls - Lutron Homeworks QS
ASCLMED
Apr 2019
Lutron Homeworks QS network lighting control system.
26 0995 LUT Hotel Guestroom Controls - Lutron myRoom
ASCLMED
Apr 2019
Guestroom controls for lighting, temperature and shades; window treatments
26 1116 RIB Secondary Unit Substations
ME
Dec 2025
Secondary unit substations; primary voltage to 34.5 kV; low-voltage secondaries.
26 1200 RIB Medium-Voltage Transformers
ME
Jun 2020
Liquid-filled; dry-type: primary, 2 to 34.5 kV; secondary, 600 V and less.
26 1300 RIB Medium-Voltage Switchgear
ME
Jun 2020
Switchgear rated 2 kV to 15 kV; air-magnetic and vacuum interrupter circuit breakers.
26 1321 RIB Air Interrupter Switches
ME
Jun 2020
Air break type interrupter switches for medium-voltage applications, 34.5 kV and less.
26 1839 RIB Medium-Voltage Motor Controllers
ME
Jun 2020
NEMA Class E2 controllers, rated 6.6kV or less; fused.
26 2100 RIB Low-Voltage Electrical Service Entrance
CME
Jun 2020
Electrical service requirements; underground and overhead.
26 2200 RIB Low-Voltage Transformers
ASCLMEDW
Jun 2020
Dry type; enclosed; for lighting and power loads; rated 600 V and less.
26 2300 RIB Low-Voltage Switchgear
ME
Jan 2021
Drawout; 600 V and less; standard and arc-resistant; LVPCBs.
26 2413 RIB Switchboards
ME
Dec 2025
600 V and less; front- and rear-connected; overcurrent devices.
26 2416 RIB Panelboards
ME
Dec 2025
Distribution, lighting and appliance types; load centers; overcurrent protective devices.
26 2419 RIB Motor-Control Centres
ME
Dec 2025
600 V and less; standard and arc-resistant; units; accessories.
26 2513 RIB Low-Voltage Busways
ME
Dec 2025
Feeder and plug-in type, 600 volts and less.
26 2713 RIB Electricity Metering
ME
Jun 2020
For Owner metering; single and multi-circuit types.
26 2723 RIB Indoor Service Poles
ME
Jun 2020
Freestanding indoor utility columns for power, telephone, and data outlets.
26 2726 LUT Wiring Devices - Lutron
ASCLMED
Apr 2019
Lutron dimmers, switches, receptacles, wallplates, accessories.
26 2726 RIB Wiring Devices
ME
Jan 2021
Switches, dimmers, receptacles, floor fittings, access floor boxes.
26 2733 RIB Power Distribution Units
ME
Jan 2021
Unit power conditioning equipment for electronic data processing installations.
26 2813 RIB Fuses
ME
Jun 2020
Fuses for use in low voltage power distribution circuits.
26 2816.13 RIB Enclosed Circuit Breakers
ME
Jan 2021
Molded case circuit breakers; enclosures.
26 2816.16 RIB Enclosed Switches
ME
Dec 2025
For use as disconnects in service and distribution systems rated 600 volts and less.
26 2913 RIB Enclosed Controllers
ME
Dec 2025
Magnetic and manual controllers for motor and general loads; accessories.
26 2923 RIB Variable-Frequency Motor Controllers
ME
Dec 2025
For variable speed/torque control of AC motors.
26 3100 RIB Photovoltaic Collectors
ACLME
Jul 2020
System requirements; modules and balance of system components.
26 3213 RIB Engine Generators
ME
Jul 2020
Packaged engine generator system.
26 3229 RIB Rotary Converters
ME
Jul 2020
AC to DC converters, AC frequency changers, and single- to three-phase converters.
26 3233 RIB Rotary Uninterruptible Power Units
ME
Jul 2020
Converters and frequency changers with energy storage; for computers, etc.
26 3323 RIB Central Battery Equipment
ME
Jul 2020
Centralized emergency lighting inverters; UPS and IPS types
26 3353 RIB Static Uninterruptible Power Supply
ME
Jan 2021
Larger than 10 KVA but under 300 KVA.
26 3533.16 RIB Low-Voltage Power Factor Correction Equipment
ME
Jan 2021
F ixed and automatically-switched ; 600 volts and less.
26 3600 RIB Transfer Switches
ME
Aug 2020
Automatic , non-automatic, and manual types ; 600 volts and less.
26 4113 RIB Lightning Protection for Structures
ME
Aug 2020
++ CAN/CSA B72 based , UL or LPI; air terminals, conductors, grounding, & bonding.
26 4300 RIB Surge Protective Devices
ME
Aug 2020
External ( site -installed) or internal (factory-installed); 600V and less.
26 5100 RIB Interior Lighting
AME
Jan 2021
Luminaires, emergency lighting units, exit signs, and luminaire accessories.
26 5133 LUT Luminaires, Ballasts, and Drivers - Lutron
ASCLMED
Apr 2019
Lutron luminaires and dimming ballasts/drivers
26 5134 KET Luminaires, Lamps, and Accessories - Ketra
ASCLMED
Apr 2019
Ketra LED tunable luminaires/lamps and accessory controls/interfaces
26 5537 RIB Obstruction and Landing Lights
ME
Sep 2020
FAA-required building marking; helicopter pad landing lights.
26 5561 RIB Theatrical Lighting
ME
Aug 2020
Lighting fixtures; dimming and control equipment and accessories.
26 5600 RIB Exterior Lighting
LME
Sep 2020
Luminaires, poles, and luminaire accessories.
27 1000 RIB Structured Cabling
ME
May 2021
Voice/data; copper/fib re optic; outlets, patch panels, racks, etc.
27 4133 RIB Master Antenna Television Systems
ME
Aug 2020
Master antenna (MATV); satellite (SMATV); cable/community antenna (CATV).
27 5116 RIB Public Address Systems
ME
Aug 2020
Speakers, amplifiers, players, cable; for paging, announcements, background music.
27 5119 RIB Sound Masking Systems
AME
Aug 2020
++ System requirements; may include integrated paging/music capability.
27 5121 RIB Biophilic Audio-Visual Environmental Systems
ASCLMED
Jan 2021
Digital virtual skylights, windows, and aquariums incorporating video display monitors for simulated views .
27 5123 RIB Intercommunications and Program Systems
ME
Aug 2020
Intercom equipment; master stations; for private interoffice communication.
27 5129.13 RIB Rescue Assistance Signal Systems
AME
Aug 2020
Emergency communication system for areas of refuge/rescue assistance .
27 5223 RIB Nurse Call/Code Blue Systems
ME
Aug 2020
Annunciator and intercom equipment; call stations; master stations; power supply.
27 5313 RIB Clock Systems
AME
Aug 2020
For time synchronization of indicating clocks and interconnected system events.
28 1000 RIB Access Control
AME
Sep 2020
Control units, readers, and accessories for controlling facility access .
28 1523 RIB Intercom Entry Systems
AME
Sep 2020
Audio-video and audio-only; analog and IP network .
28 2000 RIB Video Surveillance
ME
Sep 2020
Video recording and viewing equipment, cameras, and accessories.
28 3111 RIB Building Intrusion Detection
ME
Sep 2020
Alarm control units, detection devices, and associated components.
28 4600 RIB Fire Detection and Alarm
AME
Jan 2021
Addressable and conventional; design by specialty contractor.
31 0916.21 RIB Pile Load Tests
ASC
Oct 2019
Pile load testing requirements for one or more of the piling sections.
31 1000 RIB Site Clearing
ASCLME
Jan 2021
Vegetation clearing and protection; removal of existing debris and trash.
31 2200 RIB Grading
ASCLMEDW
Aug 2019
Topsoil removal, rough and finish grading, topsoil placement and grading.
31 2316 RIB Excavation
ASCL
Mar 2022
Basic excavating for foundations, slabs-on-grade, and building utilities.
31 2316.13 RIB Trenching
ASCLME
Jul 2019
Excavating, bedding, and backfilling for site utilities.
31 2316.26 RIB Rock Removal
ASC
Sep 2019
Mechanical or explosive removal of subsurface rock during excavation.
31 2323 RIB Fill
ASCL
Mar 2022
Basic filling and backfilling for foundations, slabs-on-grade, and utilities.
31 2323.43 RIB Geofoam
ASCL
Nov 2019
Rigid plastic foam blocks used as fill; installation and accessory materials.
31 3116 RIBXX Termite Control-NOT USED IN CANADA
ASCL
Apr 2019
Chemical soil treatment or plastic sheet for termite control.
31 3213.16 RIB Cement Soil Stabilization
ASC
Oct 2019
Treatment of site subsoil with cement for physical stability prior to construction.
31 3213.19 RIB Lime Soil Stabilization
ASC
Oct 2019
Treatment of site subsoil with lime for physical stability prior to construction.
31 3700 RIB Riprap
ASCL
Aug 2019
Loose stone or bagged aggregate for soil stabilization and slope protection.
31 6213.19 RIB Precast Concrete Piles
ASC
Sep 2019
Driven prestressed concrete piles, with or without steel points, connecting ends.
31 6213.26 RIB Pressure-Injected Footings
ASC
Sep 2019
Concrete footings, compacted in place to form an expanded bulbous base.
31 6216.13 RIB Sheet Steel Piles
ASC
Feb 2020
++ Driven steel sheet piling for caissons, retaining walls, foundations.
31 6216.16 RIB Steel H Piles
ASC
Feb 2020
Driven H-section steel piles, with protective coating.
31 6219 RIB Timber Piles
ASC
Sep 2019
Douglas fir piles; preservative treatment; opt steel tips.
31 6223.13 RIB Concrete-Filled Steel Piles
ASC
Oct 2019
Concrete-filled steel pipe piles, with or without conical tip, end bearing type.
31 6316 RIB Auger Cast Grout Piles
ASC
Feb 2020
Drilled piers; concrete injected thru hollow auger shaft.
31 6329 RIB Drilled Concrete Piers and Shafts
ASC
Nov 2019
End bearing and friction type cast-in-place concrete piers in bored shafts.
31 6613.13 RIB Rammed Aggregate Piers
ASC
Oct 2019
Rammed aggregate piers; machine excavated, restrained by in situ soils.
31 6614 RIB Hydraulically Driven Pier Foundations
ASC
Oct 2019
Helical-plate shafts used as underpinning for existing foundation repair.
31 6615 RIB Helical Foundations Piles
ASCME
Nov 2019
Piers and anchors; driven steel shafts with helical plates; foundation repair.
32 0116.74 RIB In Place Hot Reused Asphalt Paving
AC
Nov 2019
Milling or heating ; removing, remixing, replacing existing asphalt.
32 0120 RIB Preparation for Resurfacing Concrete Pavements
ASC
Nov 2019
Preparation of existing concrete pavement for new asphalt or concrete surface.
32 0190 RIB Operation and Maintenance of Planting
AL
Nov 2019
Maintenance during establishment period or longer; or for renovation.
32 1123 RIB Aggregate Base Courses
ACL
Jan 2021
Aggregate base course for placement under asphalt or concrete pavement.
32 1125 RIB Turf Surfaced Roadways
ACL
Nov 2019
++ Infrequent vehicular traffic; gravel base; plastic grid reinforcement; planting.
32 1216 RIB Asphalt Paving
ACL
Jun 2019
Bituminous concrete for roads, parking areas, or sidewalks.
32 1313 RIB Concrete Paving
ACL
Nov 2019
Concrete roads, parking areas, sidewalks, median barriers, integral curbs, gutters.
32 1413 RIB Precast Concrete Unit Paving
ACL
Aug 2021
Various types of concrete pavers for exterior dry installation on natural sand or polymeric sand bed s .
32 1416 RIB Brick Unit Paving
ACL
Aug 2019
Clay brick pavers, primarily for exterior use, with various setting methods.
32 1423 RIB Asphalt Unit Paving
ACL
Aug 2019
Manufactured asphalt block and plank pavers; asphalt adhesive bed ; polymeric sand bed ; no subbase.
32 1433 RIB Plastic Unit Paving
ACL
Aug 2019
Plastic pavers for exterior dry installation.
32 1440 RIB Stone Paving
ASCLMEDW
Feb 2020
Marble, granite, or slate pavers for exterior installation on natural sand bed , polymeric sand, or mortar bed.
32 1713 RIB Parking Bumpers
ACL
Jun 2019
Precast concrete and wood; also curbs; on asphalt and concrete pavements.
32 1723.13 RIB Painted Pavement Markings
ACL
Jun 2019
++ Lines and symbols for parking lots, roadways, curbs.
32 1726 RIB Tactile Warning Surfacing
ACL
Nov 2019
Accessibility codes c ompliant detectable warning tiles; cast in place or surface applied.
32 1729 RIB Pavement Embedded Warning Lights
ASCLME
Oct 2019
In-roadway flashing lights for crosswalks not at intersections with traffic lights.
32 1731 RIB Steel Guardrail
ACL
Oct 2019
Formed steel guardrail on steel or timber posts; for vehicle barriers.
32 1813 RIB Synthetic Grass Surfacing
AL
Oct 2019
Synthetic surface for athletic, landscape, or playground areas.
32 1816.13 RIB Playground Protective Surfacing
AL
Oct 2019
Protective surface under outdoor play structures for school, park; CPSC-compliant.
32 1823.39 RIB Synthetic Running Track Surfacing
ACL
Nov 2019
++ Permeable and impermeable; outdoor use.
32 3113 RIB Chain Link Fences and Gates
ACL
Dec 2019
Fence, manually-operated gates; exterior post foundations.
32 3119 RIB Decorative Metal Fences and Gates
ACL
Dec 2019
Prefinished metal fences; commercial, industrial, high-security applications.
32 3136 RIB Security Gates and Barriers
ASCL
Dec 2019
Vehicular and pedestrian security barriers; automated and non-automated.
32 3223 RIB Segmental Retaining Walls
ASCL
Aug 2020
Modular units; fabric soil reinforcement; Contractor engineering.
32 3300 RIB Site Furnishings
ACL
Dec 2019
Outdoor b enches, bollards, planters, tables, waste and ash receptacles.
32 3313 RIB Site Bicycle Racks
ACL
Nov 2019
Outdoor bicycle racks ; many styles.
32 3314 RIB Site Bicycle Lockers
ACL
Nov 2019
++ Outdoor; steel and polyethylene.
32 8423 RIB Underground Sprinklers
ACLME
Nov 2019
Piped underground system; piping, sprinkler heads, valves, and controls.
32 9219 RIB Seeding
ACL
Nov 2019
Seeding of lawns; can cover re-seeding.
32 9223 RIB Sodding
ACL
Nov 2019
Sod for lawns, including installation and maintenance until acceptance.
32 9300 RIB Plants
ACL
Nov 2019
Trees, bushes, vines, and ground covers; topsoil and soil preparation.
32 9447 RIB Factory Fabricated Trellis Panels
ACL
Nov 2019
Steel frame with welded wire infill; freestanding or wall mounted trellis.
33 0110.58 RIB Disinfection of Water Utility Piping Systems
ACLME
Nov 2019
Disinfection of domestic site water services, utility supply and water wells.
33 0561 RIB Concrete Manholes
ASCLME
Feb 2023
Various concrete manholes and manhole inserts with accessories.
33 1113 RIB Potable Water Supply Wells
ACME
Nov 2019
Drilling a water well, casing and grouting, pump, and accessories.
33 1416 RIB Site Water Utility Distribution Piping
ACLME
Nov 2019
Pipe materials, fittings, and valves for water systems between building and source.
33 1600 RIB Water Utility Storage Tanks
AC
Nov 2019
For domestic and fire water; elevated or surface; steel, concrete.
33 3113 RIB Site Sanitary Sewerage Gravity Piping
ACME
Mar 2022
Gravity sanitary drain piping from building to sewer.
33 3123 RIB Sanitary Sewerage Force Main Piping
CW
Mar 2022
F orce mains and inverted siphons for sewage system s . Review local municiple guideslines for your project.
33 3213 RIB Packaged Wastewater Pumping Stations
CMEW
Feb 2023
Wet well ; solids handling , grinder pumps : submersible , or above / beside.
33 3413 RIB Septic Tanks
ACME
Nov 2019
Septic tank, distribution box and filter drainage field system.
33 3803 RIB Liners for Wastewater Treatment Lagoons
CW
Nov 2019
High density polyethylene, CSPE rubber, and PVC.
33 4100 RIB Subdrainage
ACLME
Nov 2019
Weep tile drainage system, including filter aggregate and filter fabric.
33 4211 RIB Stormwater Gravity Piping
ACLME
Mar 2022
Gravity storm drainage from building and from paved and landscaped areas.
33 4213 RIB Stormwater Culverts
ACLME
Nov 2019
Corrugated steel and concrete pipe culvert and accessories.
33 5216 RIB Gas Hydrocarbon Piping
ACME
Nov 2019
Pipe materials, fittings, and valves for natural or propane gas systems.
33 7116.33 RIB Wood Electrical Utility Poles
ACME
Nov 2019
Wood poles and accessories for overhead site wire services.
33 7119 RIB Electrical Underground Ducts, Ductbanks, and Manholes
ACME
Nov 2019
Concrete-encased conduit and duct, and concrete manholes.
33 7149.13 RIB Overhead Medium-Voltage Transmission Wiring
CME
Nov 2019
Line conductors and accessories for outdoor overhead power distribution.
33 7900 RIB Site Grounding
ACME
Nov 2019
Grounding grids, loops, and other site-related grounding systems.
99 9999 RIB 3-Part Section Template
ASCLMED
Mar 2023
This template is intended for writing new sections. It is a section outline with examples of standard language.
99 9999.03 RIB Build Your Own Format Template
ASCLMEDW
May 2019
Build Your Own Format Template and document any special Header/Footer Setup info.
46 0006 RIB Wastewater Treatment System
W
Nov 2020
++ High level description of wastewater treatment processes and project procedures.
46 0013 RIB Unit Process - Main and Standby Power
W
Feb 2020
Sources of power, changeover, and interfaces to other equipment.
46 0016 RIB Unit Process - Air Supply
W
Feb 2020
A ir blowers for aeration and mixing.
46 0023 RIB Unit Process - Influent Pump Station
W
Feb 2020
Pump station system description and control scheme.
46 0026 RIB Unit Process - Preliminary Treatment
W
Feb 2020
Screening, grinding and shredding, grit removal, oil and grease removal, free-oil and hydrocarbons removal.
46 0033 RIB Unit Process - Primary Clarifiers
W
Feb 2020
Primary treatment, following screening, grit removal, and other preliminary treatment.
46 0043 RIB Unit Process - Biofilm Reactor
W
Feb 2020
Various types of fixed-film reactors.
46 0053 RIB Unit Process - Activated Sludge Reactor
W
Feb 2020
Various types of suspended-growth processes.
46 0063 RIB Unit Process - Final Clarifiers
W
Feb 2020
Clarification after biological treatment; secondary clarifiers between biofilm reactors.
46 0066 RIB Unit Process - Filtration
W
Feb 2020
Removal of particulate matter after biological treatment and clarification.
46 0069 RIB Unit Process - Demineralization
W
Feb 2020
Desalination, softening, and other types of demineralization equipment.
46 0076 RIB Unit Process - Disinfection
W
Feb 2020
Chorination/dechlorination; ultraviolet treatment.
46 0079 RIB Unit Process - Effluent Discharge
W
Feb 2020
Gravity discharge into water body; pumping for discharge or water re-use.
46 0083 RIB Unit Process - Residuals Thickening
W
Feb 2020
Sludge thickening by gravity, centrifugal force, compression, and other forces; scum concentration.
46 0086 RIB Unit Process - Residuals Stabilization
W
Feb 2020
Sludge digesters, covers, heating, mixing equipment; methane gas storage/disposal.
46 0089 RIB Unit Process - Residuals Dewatering
W
Feb 2020
Equipment for reducing sludge to solid or semi-solid state.
46 0093 RIB Unit Process - Thermal Treatment of Residuals
W
Feb 2020
Incinerators, heat recovery, and other thermal treatment or destruction of residuals.
46 0103 RIB Startup and Commissioning Procedures
W
Mar 2020
++ S tartup and commissioning of water and wastewater treatment facilities.
46 0106 RIB Operation and Maintenance Manual
W
Mar 2020
++ Electronic format; required submittal of Canada's regulatory agencies.
46 0500 RIB Common Work Results For Water and Wastewater Equipment
W
Oct 2020
++ Requirements applicable to many, possibly every, type of equipment.
46 0506 RIB Wastewater Treatment Piping
W
Oct 2020
Piping a bo v e and below grade and submerged, located both inside and outside of treatment plants.
46 0509 RIB Piping and Equipment Supports and Anchors
W
Oct 2020
Hangers, vibration isolation, seismic restraints, anchors, thrust blocking.
46 0513 RIB Piping Specialties
W
Oct 2020
Self-actuating valves, venting devices, sample ports, valved pipe drains, heat tracing.
46 0517 RIB Sleeves and Sleeve Seals for Water and Wastewater Treatment Piping
W
Feb 2020
Sleeves and sleeve seals for this type of piping systems.
46 0526 RIB Wastewater Treatment Pumps
W
Apr 2020
Many different types of pumps for wastewater treatment plants.
46 0529 RIB Blowers
W
Apr 2020
Blowers for aeration .
46 0600 RIB Schedules for Water and Wastewater Equipment
W
Mar 2020
Template to create additional Schedules.
46 0903 RIB Process Control System
W
Oct 2020
++ LonWorks-based (ANSI/C T A 709.1-D) DDC, with pneumatic for certain devices.
46 0906 RIB Supervisory Control and Data Acquisition (SCADA) System
W
Mar 2020
Automated control system c omputing hardware and software for wastewater treatment plant.
46 0909 RIB Programmable Logic Controllers (PLC)
W
Oct 2020
Non-LonWorks site controllers.
46 0913 RIB Control Gates
ASCLMEDW
Sep 2020
Vertical lift slide gates for liquid channels.
46 0916 RIB Control Valves
W
Oct 2020
Various types of valves for flow and pump control in water and wastewater treatment plants.
46 0923 RIB Monitoring and Control Instrumentation
W
Oct 2020
S ensors, analyzers, transmitters; moving equipment overload detection.
46 2100 RIB Screening Equipment
W
Oct 2020
B ar screens and mechanical screen rakes.
46 2300 RIB Grit Removal and Handling Equipment
W
Oct 2020
Grit pumps, vortex-type separator equipment, screw conveyors, cyclone and screw classifiers .
46 2400 RIB Grinding and Shredding Equipment
W
Oct 2020
Comminutors (aka macerators); s creenings shred der s for use with mechanical screen rakes.
46 2513 RIB Coalescing Oil-Water Separators
W
Oct 2020
Coalescing oil-water separators remove free oil and particulate matter from wastewater.
46 3300 RIB Liquid Chemical Feed Equipment
W
Oct 2020
++ Pumps, tanks, injectors, etc., for water and wastewater treatment.
46 4100 RIB Mixing Equipment
W
Oct 2020
Liquid process mixing; i n-channel and in-line static mixers; propeller mixers.
46 4321 RIB Circular Clarifier Equipment
W
Oct 2020
Center feed, center driven, column supported clarifier equipment ; rake/scraper, scum collector .
46 5103 RIB Air Diffusers
W
Oct 2020
Air diffusion for water and wastewater treatment.
46 5109 RIB Mechanical Aerators
W
Oct 2020
Surface -agitation equipment and sub-surface self-aspirating equipment .
46 5321 RIB Trickling Filter Equipment
W
Oct 2020
Rotary distributor mechanism, filter media, and prefabricated underdrain structure.
46 6121 RIB Pressure Filters
W
Oct 2020
Pressure type granular filters for wastewater treatment.
46 6123 RIB Gravity Filters
W
Oct 2020
Continuous backwash sand filters for wastewater treatment.
46 6129 RIB Traveling Bridge Filters
W
Oct 2020
Automatic continuous backwashing filters, using traveling bridge technology.
46 6153 RIB Cartridge Filters
W
Oct 2020
Cartridge type filters for wastewater treatment.
46 6163 RIB Bag Filters
W
Oct 2020
Bag type filters for wastewater treatment.
46 6600 RIB Ultraviolet Equipment
W
Oct 2020
++ Open-channel ultraviolet (UV) disinfection equipment for treatment of wastewater.